REQUEST FOR PROPOSAL # 260000001188

Michigan Department of Transportation

Oakland Transportation Service Center

Catch Basin/Drainage System Cleaning – Oakland County

Solicitation Manager Name: Ruth Thole

Direct Phone: 517-335-4972

Email: TholeR@michigan.gov

This is a Request for Proposal (RFP) to establish a multi-year contract for catch basin and drainage system cleaning on state trunklines in Oakland County. Services include inspecting, documenting observations, and cleaning drainage structures located within specified State of Michigan right of way locations.

| Event | Time | Date |
| --- | --- | --- |
| RFP issue date | N/A | April 1, 2026 |
| Deadline for bidders to submit questions about this RFP | 3:00 p.m. Eastern | April 10, 2026 |
| Anticipated date the State will post answers to bidder questions on www.michigan.gov/SIGMAVSS | 3:00 p.m. Eastern | April 13, 2026 |
| Proposal deadline* | 3:00 p.m. Eastern | April 22, 2026 |
| Anticipated contract begin date | N/A | June 9, 2026 |

*A bidder’s proposal received at 3:00:01 p.m. Eastern is late and subject to disqualification.

This RFP is subject to change. Check www.michigan.gov/SIGMAVSS for current information.

proposal instructions

- PROPOSAL PREPARATION. The State recommends reading all RFP materials prior to preparing a proposal, particularly these Proposal Instructions and the Vendor Questions Worksheet. Bidders must follow these Proposal Instructions and provide a complete response to the items indicated in the RFP Structure and Documentation table below.  References and links to websites or external sources may not be used in lieu of providing the information requested in the RFP within the proposal. Include the bidder’s company name in the header of all documents submitted with your proposal. Note that all documents and information submitted as part of a proposal will become public record immediately upon receipt by the State.  Proposals received by the State may be posted on the State’s publicly available website after bidders are notified of the award recommendation.

RFP Structure and Documentation

| Document | Description | Bidder Response Instructions |
| --- | --- | --- |
| Cover Page | Provides RFP title and number, important dates, and contact information for Solicitation Manager | Informational |
| Proposal Instructions | Provides RFP instructions to bidders | Informational |
| Confidential Treatment Form | Required verification on whether bidder’s proposal contains confidential information | Bidder to complete and submit by proposal deadline |
| Vendor Questions Worksheet | Questions to bidders on background and experience | Bidder to complete and submit by proposal deadline |
| Contract Terms | Provides legal terms for a contract awarded through this RFP | Deemed accepted by bidder unless information required in the Evaluation Process section of this document is submitted by proposal deadline |
| Schedule A – Statement of Work | Statement of work | Bidder to complete and submit by proposal deadline |
| Schedule B – Pricing | Pricing for goods and services sought by the State through this RFP | Bidder to complete and submit by proposal deadline |
| Schedule C – Estimated Drainage Structure Inventory | Roadways and roadway limits with drainage structure locations | Informational |
| Schedule D – Equipment List | Contractor’s equipment used in the performance of the contract | Bidder to complete and submit by proposal deadline |

- CONTACT INFORMATION FOR THE STATE. The sole point of contact for the State concerning this RFP is:

Ruth Thole, Solicitation Manager

517-335-4972

TholeR@michigan.gov

Contacting any other State personnel, agent, consultant, or representative about this RFP may result in bidder disqualification.

- PRE-PROPOSAL MEETING. No pre-proposal meeting will be held.  Interested bidders are strongly encouraged to visit the service locations and assess drainage system service requirements prior to proposal submission.  Questions regarding this RFP, including site conditions and services included, must be EMAILED to the Solicitation Manager.

- MODIFICATIONS. The State may modify this RFP at any time. Modifications will be posted on www.michigan.gov/SIGMAVSS. This is the only method by which the RFP may be modified.

- QUESTIONS. Bidder questions about this RFP must be emailed to the Solicitation Manager at TholeR@michigan.gov no later than 3:00 pm Eastern Time on April 10, 2026. In the interest of transparency, only written questions are accepted. Answers to questions will be posted on www.michigan.gov/SIGMAVSS.

- DELIVERY OF PROPOSAL. The bidder must submit its proposal, all attachments, and any modifications or withdrawals electronically through www.michigan.gov/SIGMAVSS. The price proposal should be saved separately from all other proposal documents. The bidder should submit all documents in a modifiable (native) format (examples include but are not limited to Microsoft Word or Excel and Google Docs or Sheets). In addition to submitting documents in a modifiable format, the bidder may also submit copies of documents in PDF. Attachment file size is limited to 30 MB per document. Bidder’s failure to submit a proposal as required may result in disqualification. The proposal and attachments must be fully uploaded and submitted prior to the proposal deadline. Do not wait until the last minute to submit a proposal, as the SIGMA VSS system requires the creation of an account and entry of certain information, in addition to uploading and submitting the materials. The SIGMA VSS system will not allow a proposal to be submitted after the proposal deadline identified in the solicitation Closing On/Closing Date fields (Summary view/Detail view), even if a portion of the proposal has been uploaded.

Questions on how to submit information or how to navigate in the SIGMA VSS system can be answered by calling (517) 284-0540 or (888) 734-9749. The Solicitation Manager will not provide assistance related to the submittal of the proposal and all attachments on the day of the proposal deadline. Responsibility for a complete submission lies with the bidder. Note that all documents and information submitted in any manner as part of a proposal will become public record immediately upon receipt by the State.  Proposals received may be posted by the State on the State’s publicly available website after bidders are notified of the award recommendation.

- EVALUATION PROCESS. The State will evaluate each proposal based on the following Pass/Fail criteria:

|  | Criteria | Pass/Fair |
| --- | --- | --- |
| 1. | Confidential Treatment Form is complete and signed |  |
| 2. | Responses to Vendor Questions are complete and acceptable |  |
| 3. | Agreement with Standard Contract Terms |  |
| 4. | Responses on Schedule A are complete and acceptable |  |
| 5. | Schedule B is complete |  |
| 6. | Schedule D is complete and acceptable |  |

The State may utilize all bidder information to determine fair market value for goods or services sought. The State is not obligated to accept the lowest price proposal. If applicable, the State’s evaluation will include consideration of a bidder’s qualified disabled veterans/service-disabled veteran owned business(QDV/SDVOB) status under MCL 18.1261(8). Additional information on the SDVOB preference is available at: Michigan.gov/SDVOB

The State may but is not required to conduct interviews, research, reference checks, and background checks; and request additional price concessions at any point during the evaluation process.

- AGREEMENT WITH CONTRACT TERMS. The State strongly encourages strict adherence to the Contract Terms. The State reserves the right to deem a bid non-responsive for failure to accept the Contract Terms. Nevertheless, the bidder may submit proposed changes to the Contract Terms in track changes (i.e., visible edits) with an explanation of the bidder’s need for each proposed change. Failure to include track changes with an explanation of the bidder’s need for the proposed change constitutes the bidder’s acceptance of the Contract Terms. General statements, such as that the bidder reserves the right to negotiate the terms and conditions, may be considered non-responsive.

- NOTICE OF DEFICIENCY. The State reserves the right to issue a Notice of Deficiency to bidders if the State determines after the proposal deadline that a portion of the RFP was deficient, unclear, or ambiguous. Failure to respond to a Notice of Deficiency timely may be cause for disqualification.

- CLARIFICATION REQUEST. The State reserves the right to issue a Clarification Request to a bidder to clarify its proposal if the State determines the proposal is not clear. Failure to respond to a Clarification Request timely may be cause for disqualification.

- RESERVATIONS. The State reserves the right to:

  - Disqualify a bidder for failure to follow these instructions.

  - Discontinue the RFP process at any time for any or no reason. The issuance of an RFP, your preparation and submission of a proposal, and the State’s subsequent receipt and evaluation of your proposal does not commit the State to award a contract to you or anyone, even if all the requirements in the RFP are met.

  - Consider late proposals if: (i) no other proposals are received; (ii) no complete proposals are received; (iii) the State received complete proposals, but the proposals did not meet mandatory minimum requirements or technical criteria; or (iv) the award process fails to result in an award.

  - Consider an otherwise disqualified proposal if no other proposals are received.

  - Disqualify a proposal based on: (i) information provided by the bidder in response to this RFP; (2) the bidder’s failure to complete registration on www.michigan.gov/SIGMAVSS ; or (3) if it is determined that a bidder purposely or willfully submitted false or misleading information in response to the RFP.

  - Consider prior performance with the State in making its award decision.

  - Consider overall economic impact to the State when evaluating proposal pricing and in the final award recommendation. This includes but is not limited to: considering principal place of performance, number of Michigan citizens employed or potentially employed, dollars paid to Michigan residents, Michigan capital investments, job creation, tax revenue implications, and economically disadvantaged businesses.

  - Consider total-cost-of-ownership factors (e.g., transition and training costs) when evaluating proposal pricing and in the final award recommendation.

  - Refuse to award a contract to any bidder that has failed to pay State taxes or has outstanding debt with the State.

  - Enter into negotiations with one or more bidders on price, terms, technical requirements, or other deliverables.

  - Evaluate the proposal outside the scope identified in the Evaluation Process section of this document if the State receives only one proposal.

- AWARD RECOMMENDATION. The contract will be awarded to the responsive and responsible bidder who receives a PASS for each criterion and has the lowest price.

The State will publish an Award Recommendation and Evaluation Synopsis, by posting a Notice of Intent to Award (NIA1) on www.michigan.gov/SIGMAVSS.

- DEBRIEF MEETING AND BID PROTEST. The State will post an Award Recommendation and Evaluation Synopsis which will provide instructions on how to request a debrief meeting.

If you wish to initiate a protest of the award, you must submit your written protest to Michael Meddaugh at MeddaughM@Michigan.gov no later than 3:00 p.m., three (3) business days after the Award Recommendation and Evaluation Synopsis is posted on SIGMA VSS. The State reserves the right to adjust this timing and will publish any change.

Additional information about the protest process is available at DTMB - Programs and Policies (michigan.gov) under the “Bidder Protests” link.

- STATE ADMINISTRATIVE BOARD. Contracts equal to or greater than $250,000 require approval by the State Administrative Board. The State Administrative Board’s decision is final; however, its approval does not constitute a contract. The award process is not complete until the awarded contractor receives a contract fully executed by all parties.

- GENERAL CONDITIONS. The State will not be liable for any costs, expenses, or damages incurred by a bidder participating in this solicitation. The bidder agrees that its proposal will be considered an offer to do business with the State in accordance with its proposal, including the Contract Terms, and that its proposal will be irrevocable and binding for a period of 180 calendar days from date of submission. If a contract is awarded to the bidder, the State may, at its option, incorporate any part of the bidder’s proposal into a contract. This RFP is not an offer to enter into a contract. This RFP may not provide a complete statement of the State’s environment or contain all matters upon which agreement must be reached. The bidder understands that their proposal will become public record immediately upon receipt by the State. Other than verified trade secrets, proposals submitted via www.michigan.gov/SIGMAVSS are the State’s property.

- CONFIDENTIAL TREATMENT FORM AND THE FREEDOM OF INFORMATION ACT. As a public record, all portions of the bidder’s proposal and resulting contract are subject to disclosure as required under Michigan’s Freedom of Information Act (FOIA), MCL 15.231, et seq. However, the State may exempt some information from disclosure as permitted by law. Under MCL 18.1261(13)(b), records containing “a trade secret as defined under section 2 of the uniform trade secrets act, 1998 PA 448, MCL 445.1902,” are exempt from disclosure under FOIA. In addition, “financial or proprietary information” submitted with a bidder’s proposal is exempt from disclosure under FOIA. A bidder’s failure to comply with this Section is grounds for rejecting a bidder’s proposal as non-responsive. As a part of its proposal, each bidder must follow the procedure below.

SUBMIT A COMPLETED “CONFIDENTIAL TREATMENT FORM” (CT FORM) WITH YOUR BID. Completion and submission of the CT Form is required regardless of whether the bidder seeks confidential treatment of information. Failure to submit a completed CT Form may be cause for disqualification from the solicitation process. If a bidder fails to properly complete and submit the CT Form or otherwise fails to follow CT Form instructions, the proposal may be publicly disclosed in its entirety without redaction after an award recommendation.

Complete and sign Section 1 of the CT Form if the bidder does NOT request confidential treatment of information contained in its proposal; or

    - Complete and sign Section 2 of the CT Form if the bidder requests confidential treatment of certain information. Bidder must also submit a copy of the proposal with the trade secret, financial, and proprietary information redacted and clearly labeled as the “PUBLIC COPY.”

    - Failure to complete and sign a CT Form may result in disqualification of the bidder. If a bidder fails to properly complete and submit the CT Form or otherwise fails to follow the CT Form instructions, the proposal, in its entirety, may be publicly disclosed by the State without redaction after an award recommendation.

  - FOIA REQUESTS. If a FOIA request is made for a bidder’s proposal, the Public Copy may be distributed to the public along with the bidder’s CT Form. The CT Form is a public document and serves as an explanation for the redactions to the Public Copy. Do not put any trade secret, financial, or proprietary information in the CT Form. Do not redact the CT Form itself.

  - NO ADVICE. The State will not advise a bidder as to the nature or content of documents entitled to protection from disclosure under FOIA or other laws, as to the interpretation of such laws, or as to the definition of trade secret or financial or proprietary information. Nothing contained in this provision will modify or amend requirements and obligations imposed on the State by FOIA or other applicable law.  The State is not obligated to notify a bidder if a FOIA request for bidder’s proposal is received nor if bidder’s proposal is made available to the public.

  - FAILURE TO REQUEST CONFIDENTIAL TREATMENT. Failure to request material be treated as confidential as specified herein relieves the State, its agencies, and personnel from any responsibility for maintaining material in confidence.

  - Bids containing a request to maintain an entire proposal as confidential may be rejected as non-responsive. Bidders may not request confidential treatment with respect to resumes, pricing, and marketing materials. The State reserves the right to determine whether material designated as exempt by a bidder falls under MCL 18.1261 or other applicable FOIA exemptions. If a FOIA request is made for materials that the bidder has identified as trade secret, financial, or proprietary information, the State has the final authority to determine whether the materials are exempt from disclosure under FOIA.

  - Bidder forever releases the State, its departments, subdivisions, officers, and employees from all claims, rights, actions, demands, damages, liabilities, expenses and fees, which arise out of or relate to the disclosure of all or a portion of bidder’s proposal submitted under this RFP. Bidder must defend, indemnify and hold the State, its departments, subdivisions, officers, and employees harmless, without limitation, from and against all actions, claims, losses, liabilities, damages, costs, attorney fees, and expenses (including those required to establish the right to indemnification), arising out of or relating to any FOIA request, including potential litigation and appeals, related to the portion of bidder’s proposal submitted under this RFP that bidder has identified as a trade secret, or financial or proprietary information. The State will notify bidder in writing if indemnification is sought. The State is entitled to: (i) regular updates on proceeding status; (ii) participate in the defense of the proceeding; (iii) employ its own counsel; and to (iv) retain control of the defense, or any portion thereof, if the State deems necessary. Bidder will not, without the State’s written consent (not to be unreasonably withheld), settle, compromise, or consent to the entry of any judgment in or otherwise seek to terminate any claim, action, or proceeding. If a State employee, official, or law is involved or challenged, the State may control the defense of that portion of the claim. Any litigation activity on behalf of the State, or any of its subdivisions under this Section, must be coordinated with the Department of Attorney General. An attorney designated to represent the State may not do so until approved by the Michigan Attorney General and appointed as a Special Assistant Attorney General.

Confidential Treatment Form

INSTRUCTIONS. A signed and dated Confidential Treatment Form (CT Form) must be submitted with your proposal, regardless of whether your proposal contains confidential information.

- Complete either Section 1 or Section 2 of this form and sign where indicated. Do not complete both sections. Note: Completion of Section 2 is required to request confidential treatment.

- This form must be signed by the individual who signed the bidder’s proposal.

Failure to submit a completed CT Form with your bid is grounds for rejecting the proposal as non-responsive.

In addition, failure to follow the instructions on this form or to properly complete and submit it may result in the entire proposal being publicly disclosed by the State without redaction after an award recommendation.

See the Confidential Treatment Form and the Freedom of Information Act section of the Proposal Instructions for additional information.

Section 1. CONFIDENTIAL TREATMENT IS NOT REQUESTED

This section must be completed, signed, and submitted with the proposal if the bidder does not request confidential treatment of any material contained in the proposal. If this section is completed, do not complete Section 2.

By signing below, the bidder affirms that confidential treatment of material contained in their proposal is not requested.

| 260000001188 RFP Number |  | RFP Title |
| --- | --- | --- |
| Signature |  | Date |
| Printed Name, Title, Company |  |  |

Section 2. CONFIDENTIAL TREATMENT IS REQUESTED

Bidders must complete, sign, and submit this section with the proposal, to request confidential treatment of any material contained in the proposal. If this section is completed, do not complete Section 1.

Bidders must specifically identify the information to be protected as confidential and/or proprietary and state the reasons why protection is necessary. As shown in the table below, the following details are required for each confidentiality request.

- The proposal page number, section number, and paragraph number.

- Whether the material referenced is Trade Secret (TS), Proprietary Financial Information (FI), or Proprietary Information (PI). Bidders may not request confidential treatment of resumes, pricing, and marketing materials.

- An explanation of the specific legal grounds that support treatment of the material as TS, FI, or PI and a complete justification as to how the material falls within the scope of an applicable FOIA exemption or relevant case law. Bidders must not simply cite an applicable exemption or case name.

- The person at their organization authorized to respond to inquiries by the State concerning the material and their contact information.

REQUIRED: Bidders completing this section must also submit a copy of the proposal with the trade secret, financial, and proprietary information redacted and clearly label this redacted copy as the PUBLIC COPY.

| (1) Proposal Page #, Section #, Paragraph # | (2) Material is Trade Secret (TS), Proprietary Financial Information (FI), Proprietary Information (PI) | (3) Applicable FOIA Exemption with Written Justification | (4) Bidder Contact Information |
| --- | --- | --- | --- |

Bidders may add rows or additional pages using the same format shown in the table.

State of Michigan FOIA Requests

The State reserves the right to determine whether material designated as exempt by a bidder falls under MCL 18.1261 or other applicable FOIA exemptions.

If a FOIA request is made for materials that the bidder has identified as trade secret, financial, or proprietary information, the State has the final authority to determine whether the materials are exempt from disclosure under FOIA.

The State is not obligated to notify a bidder if a FOIA request for bidder’s proposal is received nor if bidder’s proposal is made available to the public.  This form, and any additional justification letters, are not exempt from release under FOIA.

By signing below, the bidder affirms that confidential treatment of material contained in their proposal is requested and has attached to this form a redacted “Public Copy” of the bidder’s proposal.

| 260000001188 RFP Number |  | RFP Title |
| --- | --- | --- |
| Signature |  | Date |
| Printed Name, Title, Company |  |  |

vendor questions worksheet

Provide a detailed response to each question. “You” and “company” refers to the bidder.

| Information Sought | Bidder Response |
| --- | --- |
| - Contact Information |  |
| Bidder’s sole contact person during the RFP process: |  |
| Name: |  |
| Title: |  |
| Address: |  |
| Phone Number: |  |
| Email: |  |
| Person authorized to receive and sign a resulting contract: |  |
| Name: |  |
| Title: |  |
| Phone Number: |  |
| Email: |  |
| Sole contact authorized to give and receive Notices (see Standard Contract Terms, Point 2.) |  |
| Name, email address, and phone number. Include address if different than legal business address |  |
| Contractor’s Contract Administrator (see Standard Contract Terms, Point 3.) |  |
| Name, email address, and phone number. Include address if different than legal business address |  |
| Contractor’s Program Manager (see Standard Contract Terms, Point 4.) |  |
| Name, email address, and phone number. Include address if different than legal business address |  |
| - Company Background Information |  |
| Legal business name. |  |
| Legal business address. |  |
| Business entity designation, e.g., sole proprietor, corporation, LLC, or LLP. |  |
| What state the company formed in. |  |
| Phone number. |  |
| Website address. |  |
| Number of years in business. |  |
| Number of employees. |  |
| Legal business name and address of parent company, if any. |  |
| Has bidder ever been debarred, suspended, or disqualified from bidding or contracting with any entity, including the State of Michigan? If yes, provide the date, the entity, and details about the situation. |  |
| Has your company been a party to litigation against the State of Michigan? If the answer is yes, then state the date of initial filing, case name and court number, and jurisdiction. |  |
| Within the last 5 years, has your company or any of its related business entities defaulted on a contract or had a contract terminated for cause? If yes, provide the date, contracting entity, type of contract, and details about the termination or default. |  |
| State your gross annual sales for each of the last 5 years. If receiving a contract under this RFP will increase your gross revenue by more than 25% from last year’s sales, explain how the company will scale-up to manage this increase. |  |
| Bidder affirms that any business types identified on its SIGMA VSS profile, including those eligible for Geographically Disadvantaged Business Enterprise (GDBE) and Michigan Supplier Community Program (MiSC), are valid. | Choose an item. |
| - Qualified Disabled Veteran/Service-Disabled Veteran-Owned Business Program |  |
| Under MCL 18.1261, a “qualified disabled veteran” means a business entity that is 51% or more owned by 1 or more veterans with a service-connected disability. A “service-connected disability” means a disability incurred or aggravated in the line of duty in the active military, naval, or air service as described in 38 USC 101(16). To demonstrate qualification as a qualified disabled veteran, you must provide: A. Proof of service and conditions of discharge (DD214 or equivalent). B. Proof of service-connected disability (DD214 if the disability was documented at discharge or Veterans Administration Rating Decision Letter or equivalent if the disability was documented after discharge). C. Legal documents setting forth the ownership of the business entity. In lieu of the documentation identified above, you may provide proof of certification by the National Veterans Business Development Council. |  |
| Does the bidder qualify as Disabled Veteran/Service-Disabled Veteran-Owned Business? | Choose an item. |
| If yes, enter the names of documents submitted with your proposal to demonstrate status as a qualified disabled veteran. |  |
| - Participation in RFP Development or Evaluation |  |
| Did your company, an employee, agent, or representative of your company, or any affiliated entity participate in developing any component of this solicitation? For purposes of this question, business concerns, organizations, or individuals are affiliates of each other if, directly or indirectly: (1) either one controls or has power to control the other or (2) a third-party controls or has the power to control both. Indicia of control include, but are not limited to, interlocking management or ownership, identity of interests among family members, shared facilities or equipment, and common use of employees. | Choose an item. If you enter “YES”, you are not eligible for contract award or to work as a subcontractor for the awarded vendor. |
| If you are awarded a contract under this solicitation, in order to provide the goods or services required under a resulting contract, do you intend to partner or subcontract with a person or entity that assisted in the development of this solicitation? | Choose an item. If you enter “YES,” you are not eligible for contract award. An awarded vendor may not partner or subcontract with anyone to provide goods and services required under a resulting contract if that subcontractor or partner assisted in the development of this solicitation. |
| Will your company, or an employee, agent, or representative of your company, participate in the evaluation of the proposals received in response to this RFP? | Choose an item. If you enter “YES”, you are not eligible for contract award or to work as a subcontractor for the awarded vendor. |
| - State of Michigan Experience and Prior Experience |  |
| Does your company have experience working with the State of Michigan? If so, please provide a list (including the contract number) of the contracts you hold or have held with the State for the last 10 years. |  |
| Describe at least 3 relevant experiences from the last 5 years supporting your ability to successfully manage a contract of similar size and scope for the work described in this RFP. |  |
| Experience 1 |  |
| Company name. Contact name. Contact role at time of project. Contact phone. Contact email. |  |
| City. State. Zip. |  |
| 1. Project name and description of the scope of the project. 2. What role did your company play? 3. How is this project experience relevant to the subject of this RFP? |  |
| Dollar value. |  |
| Start and end date (mm/yy – mm/yy) |  |
| Status (completed, live, other – specify phase) |  |
| Results obtained. |  |
| Experience 2 |  |
| Company name. Contact name. Contact role at time of project. Contact phone. Contact email. |  |
| City. State. Zip. |  |
| 1. Project name and description of the scope of the project. 2. What role did your company play? 3. How is this project experience relevant to the subject of this RFP? |  |
| Dollar value. |  |
| Start and end date (mm/yy – mm/yy) |  |
| Status (completed, live, other – specify phase) |  |
| Results obtained. |  |
| Experience 3 |  |
| Company name. Contact name. Contact role at time of project. Contact phone. Contact email. |  |
| City. State. Zip. |  |
| 1. Project name and description of the scope of the project. 2. What role did your company play? 3. How is this project experience relevant to the subject of this RFP? |  |
| Dollar value. |  |
| Start and end date (mm/yy – mm/yy) |  |
| Status (completed, live, other – specify phase) |  |
| Results obtained. |  |
| - Standard Contract Terms |  |
| Bidder must affirm agreement with the attached Standard Contract Terms. If not in agreement, written exceptions in accordance with the Evaluation Process section of the Proposal Instructions must be provided with Bidder’s proposal. | ☐ Agree with all Contract Terms ☐ Do not agree will all Contract Terms |
| - Michigan Voluntary Protection Program |  |
| Bidder must verify if their company is recognized in the Michigan Voluntary Protection Program (MVPP) | Choose an item. |
| - Michigan Economic Impact |  |
| How many employees are currently employed at locations within the State of Michigan. |  |
| How many additional employees will be employed at locations within the State of Michigan if awarded this Contract (if any). |  |
| What is the minimum wage paid to employees employed at locations within the State of Michigan. |  |
| What is the average wage paid to employees employed at locations within the State of Michigan. |  |
| What is the percentage of employees employed at locations within the State of Michigan that are covered by employer-provided health insurance. |  |
| - Labor, Antidiscrimination and Environmental Laws Compliance |  |
| Bidder must disclose any violations of state or federal labor, antidiscrimination and employment laws and regulations received within the past five years. |  |
| Bidder must disclose any violations of state or federal environmental laws and regulations received within the past five years. |  |
| - Other |  |
| Classification of Employees. I certify that the company has properly classified its employees in accordance with federal/state labor and employment laws. | Choose an item. |
| Abusive Labor Practices. The Contractor certifies that it will not furnish any Deliverable that was produced fully or partially by forced labor, forced or indentured child labor, or indentured servitude. | Choose an item. |
| Certification of Michigan Business- Public Act 431 of 1984, Sec. 268. I certify that the company has, pursuant to the provisions of Sec 268 of Public Act 431 of 1984, filed a Michigan Business Tax Corporate Income Tax Return. I certify that the company has, pursuant to the provisions of Sec 268 of Public Act 431 of 1984, filed a Michigan Income Tax return showing income generated in, or attributed to the State of Michigan. I certify that the company has, pursuant to the provisions of Sec 268 of Public Act 431 of 1984, withheld Michigan Income Tax from compensation paid to the company’s owners and remitted the tax to the Michigan Department of Treasury. | Choose an item. |
| Iran Linked Business- Public Act 517 of 2012. I certify that the Company is not an Iran-Linked business as defined by Public Act 517 of 2012. | Choose an item. |
| Clean Corporate Citizen. I certify that the Company is a Clean Corporate Citizen as defined by the Environmental Protection Act, 1994 PA 451. | Choose an item. |
| Convict Labor. The Contractor certifies that if using convict labor, it is complying with all applicable state and federal laws and policies. | Choose an item. |
| SOM Debt/Tax Payment. All SOM tax/debts. I certify that all applicable State of Michigan taxes are paid, and that no outstanding debt is owed to the State of Michigan. | Choose an item. |
| Authorization to Verify Information Provided by Vendor. I authorize the State to verify that all information provided in this registration, in bidding and contracting documents, and any attachments or supplement documents and processes are accurate. | Choose an item. |
| - Response to State Requests |  |
| Bidder agrees to respond, by established deadlines, to all requests from the State including but not limited to clarification requests, notices of deficiency, and proposed changes to Contract Terms. | Choose an item. |

# Standard Contract Terms

This STANDARD CONTRACT (“Contract”) is agreed to between the State of Michigan (the “State”) and the Contractor. This Contract is effective on June 9, 2026 (“Effective Date”), and unless terminated, will expire on February 28, 2029 (the “Term”).

This Contract may be renewed for up to two (2) additional one-year periods. Renewal is at the sole discretion of the State and will automatically extend the Term of this Contract. The State will document its exercise of renewal options via Contract Change Notice.

The parties agree as follows:

- Duties of Contractor. Contractor must perform the services and provide the deliverables (the “Contract Activities”) described in a Statement of Work, the initial Statement of Work is attached as Schedule A – Statement of Work. An obligation to provide delivery of any commodity is considered a service and is a Contract Activity.

Contractor must furnish all labor, equipment, materials, and supplies necessary for the performance of the Contract Activities unless otherwise specified in a Statement of Work.

Contractor must: (a) perform the Contract Activities in a timely, professional, safe, and workmanlike manner consistent with standards in the trade, profession, or industry; (b) meet or exceed the performance and operational standards, and specifications of the Contract; (c) provide all Contract Activities in good quality, with no material defects; (d) not interfere with the State’s operations; (e) obtain and maintain all necessary licenses, permits or other authorizations necessary for the performance of the Contract; (f) cooperate with the State, including the State’s quality assurance personnel, and any third party to achieve the objectives of the Contract; (g) return to the State any State-furnished equipment or other resources in the same condition as when provided when no longer required for the Contract;  (h) assign to the State any claims resulting from state or federal antitrust violations to the extent that those violations concern materials or services supplied by third parties toward fulfillment of the Contract; (i) comply with all State physical and IT security policies and standards which will be made available upon request; and (j) provide the State priority in performance of the Contract except as mandated by federal disaster response requirements. Any breach under this paragraph is considered a material breach.

Contractor must also be clearly identifiable while on State property by wearing identification issued by the State, and clearly identify themselves whenever making contact with the State.

- Notices. All notices and other communications required or permitted under this Contract must be in writing and will be considered given and received: (a) when verified by written receipt if sent by courier; (b) when actually received if sent by mail without verification of receipt; or (c) when verified by automated receipt or electronic logs if sent by facsimile or email.

| If to State: | If to Contractor: |
| --- | --- |
| Ruth Thole MDOT Contract Services Division 425 W. Ottawa St. Lansing, MI 48933 TholeR@michigan.gov 517-335-4972 |  |

- Contract Administrator. The Contract Administrator, or the individual duly authorized for each party, is the only person authorized to modify any terms of this Contract, and approve and execute any change under this Contract (each a “Contract Administrator”):

| State: | Contractor: |
| --- | --- |
| Ruth Thole MDOT Contract Services Division 425 W. Ottawa St. Lansing, MI 48933 TholeR@michigan.gov 517-335-4972 |  |

- Program Manager. The Program Manager for each party will monitor and coordinate the day-to-day activities of the Contract (each a “Program Manager”):

| State: | Contractor: |
| --- | --- |
| William Bair MDOT Oakland Transportation Service Center 800 Vanguard Dr. Pontiac, MI 48341 BairW@michigan.gov 248-431-2887 |  |

- Performance Guarantee. Contractor must at all times have financial resources sufficient, in the opinion of the State, to ensure performance of the Contract and must provide proof upon request. The State may require a performance bond (as specified in a Statement of Work) if, in the opinion of the State, it will ensure performance of the Contract.

- Insurance Requirements.

- General Requirements. Contractor, at its sole expense, must maintain the insurance coverage as specified herein for the duration of the Term. Minimum limits may be satisfied by any combination of primary liability, umbrella or excess liability, and self-insurance coverage. To the extent damages are covered by any required insurance, Contractor waives all rights against the State for such damages. Failure to maintain required insurance does not limit this waiver.

- Qualification of Insurers. Except for self-insured coverage, all policies must be written by an insurer with an A.M. Best rating of A- VII or higher unless otherwise approved by DTMB Enterprise Risk Management.

- Primary and Non-Contributory Coverage. All policies for which the State of Michigan is required to be named as an additional insured must be on a primary and non-contributory basis.

- Claims-Made Coverage. If any required policies provide claims-made coverage, Contractor must:

  - Maintain coverage and provide evidence of coverage for at least 3 years after the later of the expiration or termination of the Contract or the completion of all its duties under the Contract;

  - Purchase extended reporting coverage for a minimum of 3 years after completion of work if coverage is cancelled or not renewed, and not replaced with another claims-made policy form with a retroactive date prior to the Effective Date of this Contract

- Proof of Insurance

  - Insurance certificates showing evidence of coverage as required herein must be submitted to the Contract Administrator within 10 days of the contract execution date.

  - Renewal insurance certificates must be provided on annual basis or as otherwise commensurate with the effective dates of coverage for any insurance required herein.

  - Insurance certificates must be in the form of a standard ACORD Insurance Certificate unless otherwise approved by DTMB Enterprise Risk Management.

  - All insurance certificates must clearly identify the Contract Number (e.g., notated under the Description of Operations on an ACORD form).

  - The State may require additional proofs of insurance or solvency, including but not limited to policy declarations, policy endorsements, policy schedules, self-insured certification or authorization, and audited financial statements.

  - In the event any required coverage is cancelled or not renewed, Contractor must provide written notice to the Contract Administrator no later than 5 business days following such cancellation or nonrenewal.

- Subcontractors. Contractor is responsible for ensuring its subcontractors, if any, carry and maintain insurance coverage as applicable to the subcontracted service(s).

- Limits of Coverage & Specific Endorsements. (See Table 6.1 Below)

TABLE 6.1

| Required Limits | Additional Requirements |
| --- | --- |
| Commercial General Liability Insurance |  |
| Minimum Limits $1,000,000 Each Occurrence $1,000,000 Personal & Advertising Injury $2,000,000 Products/Completed Operations $2,000,000 General Aggregate | Contractor must have their policy endorsed to add “the State of Michigan, its departments, divisions, agencies, offices, commissions, officers, employees, and agents” as additional insureds using endorsement CG 20 10 11 85, or both CG 20 10 12 19 and CG 20 37 12 19. |
| Umbrella or Excess Liability Insurance |  |
| Minimum Limits: $5,000,000 General Aggregate | Contractor must have their policy follow form. |
| Automobile Liability Insurance |  |
| Minimum Limits: $1,000,000 Per Accident | Contractor must have their policy: (1) endorsed to add “the State of Michigan, its departments, divisions, agencies, offices, commissions, officers, employees, and agents” as additional insureds; and (2) include Hired and Non-Owned Automobile coverage. |
| Workers’ Compensation Insurance |  |
| Minimum Limits: Coverage according to applicable laws governing work activities. | Waiver of subrogation, except where waiver is prohibited by law. |
| Employers Liability Insurance |  |
| Minimum Limits: $500,000 Each Accident $500,000 Each Employee by Disease $500,000 Aggregate Disease |  |
| Environmental and Pollution Liability (Errors and Omissions) |  |
| Minimum Limits: $1,000,000 Each Occurrence $2,000,000 Annual Aggregate | Contractor must have their policy: (1) be applicable to the work being performed, including completed operations equal to or exceeding statute of repose; (2) not have exclusions or limitations related to Transportation (upset overturn, spills during loading or unloading, Hazardous Materials Handling, and Non Owned disposal site liability; and (3) endorsed to add “the State of Michigan, its departments, division, agencies, offices, commissions, officers, employees, and agents” as additional insured. |

- Non-Waiver. This Section 6 is not intended to and is not to be construed in any manner as waiving, restricting or limiting the liability of either party for any obligations under this Contract, including any provisions hereof requiring Contractor to indemnify, defend and hold harmless the State.

- Reserved.

- Reserved.

- Relationship of the Parties. The relationship between the parties is that of independent contractors. Contractor, its employees, and agents will not be considered employees of the State. No partnership or joint venture relationship is created by virtue of this Contract. Contractor, and not the State, is responsible for the payment of wages, benefits and taxes of Contractor’s employees and any subcontractors. Prior performance does not modify Contractor’s status as an independent contractor. Neither party has authority to contract for nor bind the other party in any manner whatsoever.

- Reserved.

- Subcontracting. Contractor may not delegate any of its obligations under the Contract without the prior written approval of the State. Contractor must notify the State at least 90 calendar days before the proposed delegation and provide the State any information it requests to determine whether the delegation is in its best interest. If approved, Contractor must: (a) be the sole point of contact regarding all contractual matters, including payment and charges for all Contract Activities; (b) make all payments to the subcontractor; and (c) incorporate the terms and conditions contained in this Contract in any subcontract with a subcontractor. Contractor remains responsible for the completion of the Contract Activities, compliance with the terms of this Contract, and the acts and omissions of the subcontractor. The State, in its sole discretion, may require the replacement of any subcontractor.

- Staffing. The State’s Contract Administrator may require Contractor to remove or reassign personnel providing services by providing a notice to Contractor.

- Background Checks. Pursuant to Michigan law, all agencies subject to IRS Pub. 1075 are required to ask the Michigan State Police to perform fingerprint background checks on all employees, including Contractor and Subcontractor employees, who may have access to any database of information maintained by the federal government that contains confidential or personal information, including, but not limited to, federal tax information. Further, pursuant to Michigan law, any agency described above is prohibited from providing Contractors or Subcontractors with the result of such background check. For more information, please see Michigan Public Act 427 of 2018. Upon request, or as may be specified in a Statement of Work, Contractor must perform background checks on all employees and subcontractors and its employees prior to their assignment. The scope is at the discretion of the State and documentation must be provided as requested. Contractor is responsible for all costs associated with the requested background checks. The State, in its sole discretion, may also perform background checks.

- Assignment. Contractor may not assign this Contract to any other party without the prior approval of the State. Upon notice to Contractor, the State, in its sole discretion, may assign in whole or in part, its rights or responsibilities under this Contract to any other party. If the State determines that a novation of the Contract to a third party is necessary, Contractor will agree to the novation and provide all necessary documentation and signatures.

- Change of Control. Contractor will notify the State, within 30 days of any public announcement or otherwise once legally permitted to do so, of a change in Contractor’s organizational structure or ownership. For purposes of this Contract, a change in control means any of the following: (a) a sale of more than 50% of Contractor’s stock; (b) a sale of substantially all of Contractor’s assets; (c) a change in a majority of Contractor’s board members; (d) consummation of a merger or consolidation of Contractor with any other entity; (e) a change in ownership through a transaction or series of transactions; (f) or the board (or the stockholders) approves a plan of complete liquidation. A change of control does not include any consolidation or merger effected exclusively to change the domicile of Contractor, or any transaction or series of transactions principally for bona fide equity financing purposes.

In the event of a change of control, Contractor must require the successor to assume this Contract and all of its obligations under this Contract.

- Ordering. Contractor is not authorized to begin performance until receipt of authorization as identified in a Statement of Work.

- Acceptance. Contract Activities are subject to inspection and testing by the State within 30 calendar days of the State’s receipt of them (“State Review Period”), unless otherwise provided in a Statement of Work. If the Contract Activities are not fully accepted by the State, the State will notify Contractor by the end of the State Review Period that either: (a) the Contract Activities are accepted but noted deficiencies must be corrected; or (b) the Contract Activities are rejected. If the State finds material deficiencies, it may: (i) reject the Contract Activities without performing any further inspections; (ii) demand performance at no additional cost; or (iii) terminate this Contract in accordance with Section 24, Termination for Cause.

Within 10 business days from the date of Contractor’s receipt of notification of acceptance with deficiencies or rejection of any Contract Activities, Contractor must cure, at no additional cost, the deficiency and deliver unequivocally acceptable Contract Activities to the State. If acceptance with deficiencies or rejection of the Contract Activities impacts the content or delivery of other non-completed Contract Activities, the parties’ respective Program Managers must determine an agreed to number of days for re-submission that minimizes the overall impact to the Contract. However, nothing herein affects, alters, or relieves Contractor of its obligations to correct deficiencies in accordance with the time response standards set forth in this Contract.

If Contractor is unable or refuses to correct the deficiency within the time response standards set forth in this Contract, the State may cancel the order in whole or in part. The State, or a third party identified by the State, may perform the Contract Activities and recover the difference between the cost to cure and the Contract price plus an additional 10% administrative fee.

- Reserved.

- Reserved.

- Reserved.

- Invoices and Payment. Invoices must conform to the requirements communicated from time-to-time by the State. All undisputed amounts are payable within 45 days of the State’s receipt. Contractor may only charge for Contract Activities provided as specified in a Statement of Work. Invoices must include an itemized statement of all charges. The State is exempt from federal excise tax, state, and local sales taxes, and use taxes if the Contract Activities purchased under this Contract are for the State’s exclusive use. Contractor will not include the collection of taxes for which the State is exempt in any invoices or payments related to this Contract. The State is not responsible for taxes imposed or assessed on Contractor.

The State has the right to withhold payment of any disputed amounts until the parties agree as to the validity of the disputed amount. The State will notify Contractor of any dispute within a reasonable time. Payment by the State will not constitute a waiver of any rights as to Contractor’s continuing obligations, including claims for deficiencies or substandard Contract Activities. Contractor’s acceptance of final payment by the State constitutes a waiver of all claims by Contractor against the State for payment under this Contract, other than those claims previously filed in writing on a timely basis and still disputed.

The State will only disburse payments under this Contract through Electronic Funds Transfer (EFT). Contractor must register with the State at http://www.michigan.gov/SIGMAVSS to receive electronic fund transfer payments. If Contractor does not register, the State is not liable for failure to provide payment. Without prejudice to any other right or remedy it may have, the State reserves the right to set off at any time any amount then due and owing to it by Contractor against any amount payable by the State to Contractor under this Contract.

Excluding federal government charges and terms, Contractor warrants and agrees that each of the fees, economic or product terms or warranties granted pursuant to this Contract are comparable to or better than the equivalent fees, economic or product term or warranty being offered to any commercial or government customer (including any public educational institution within the State of Michigan) of Contractor.  If Contractor enters into any arrangements with another customer of Contractor to provide the products or services, available under this Contract, under more favorable prices, as the prices may be indicated on Contractor’s current U.S. and International price list or comparable document, then this Contract will be deemed amended as of the date of such other arrangements to incorporate those more favorable prices, and Contractor will immediately notify the State of such fee and formally memorialize the new pricing in a change notice.

- Liquidated Damages. Liquidated damages, if applicable, will be assessed as described in a Statement of Work. The parties understand and agree that any liquidated damages (which includes but is not limited to applicable credits) set forth in this Contract are reasonable estimates of the State’s damages in accordance with applicable law. The parties acknowledge and agree that Contractor could incur liquidated damages for more than one event. The assessment of liquidated damages will not constitute a waiver or release of any other remedy the State may have under this Contract for Contractor’s breach of this Contract, including without limitation, the State’s right to terminate this Contract for cause under Section 24 and the State will be entitled in its discretion to recover actual damages caused by Contractor’s failure to perform its obligations under this Contract.  However, the State will reduce such actual damages by the amounts of liquidated damages received for the same events causing the actual damages.  Amounts due the State as liquidated damages may be set off against any fees payable to Contractor under this Contract, or the State may bill Contractor as a separate item and Contractor will promptly make payments on such bills.

- Stop Work Order. The State may suspend any or all activities under the Contract at any time. The State will provide Contractor a written stop work order detailing the suspension. Contractor must comply with the stop work order upon receipt. Within 90 calendar days, or any longer period agreed to by Contractor, the State will either: (a) issue a notice authorizing Contractor to resume work, or (b) terminate the Contract or delivery order. The State will not pay for Contract Activities, Contractor’s lost profits, or any additional compensation during a stop work period.

- Termination for Cause. (a) The State may terminate this Contract for cause, in whole or in part, if Contractor, as determined by the State: (i) endangers the value, integrity, or security of any facility, data, or personnel; (ii) becomes insolvent, petitions for bankruptcy court proceedings, or has an involuntary bankruptcy proceeding filed against it by any creditor; (iii) engages in any conduct that may expose the State to liability; (iv) breaches any of its material duties or obligations under this Contract; or (v) fails to cure a breach within the time stated by the State in a notice of breach, if in its sole discretion the State has chosen to provide a time to cure. Any reference to specific breaches being material breaches within this Contract will not be construed to mean that other breaches are not material.

(b) If the State terminates this Contract under this Section, the State will issue a termination notice specifying whether Contractor must: (i) cease performance immediately. Contractor must submit all invoices for Contract Activities accepted by the State within 30 days of the date of termination. Failure to submit an invoice within that timeframe will constitute a waiver by Contractor for any amounts due to Contractor for Contract Activities accepted by the State under this Contract or (ii) continue to perform for a specified period. If it is later determined that Contractor was not in breach of the Contract, the termination will be deemed to have been a Termination for Convenience, effective as of the same date, and the rights and obligations of the parties will be limited to those provided in Section 25, Termination for Convenience.

The State will only pay for amounts due to Contractor for Contract Activities accepted by the State on or before the date of termination, subject to the State’s right to set off any amounts owed by the Contractor for the State’s reasonable costs in terminating this Contract. Contractor must promptly reimburse to the State any fees prepaid by the State prorated to the date of such termination, including any prepaid fees. The Contractor must pay all reasonable costs incurred by the State in terminating this Contract for cause, including administrative costs, attorneys’ fees, court costs, transition costs, and any costs the State incurs to procure the Contract Activities from other sources.

- Termination for Convenience. The State may immediately terminate this Contract in whole or in part without penalty and for any reason or no reason, including but not limited to, appropriation or budget shortfalls. The termination notice will specify whether Contractor must: (a) cease performance of the Contract Activities immediately. Contractor must submit all invoices for Contract Activities accepted by the State within 30 days of the date of termination. Failure to submit an invoice within that timeframe will constitute a waiver by Contractor for any amounts due Contractor for Contract Activities accepted by the State under this Contract, or (b) continue to perform the Contract Activities in accordance with Section 26, Transition Responsibilities. If the State terminates this Contract for convenience, the State will pay all reasonable costs, as determined by the State, for State approved Transition Responsibilities to the extent the funds are available.

- Transition Responsibilities. Upon termination or expiration of this Contract for any reason, Contractor must, for a period of time specified by the State (not to exceed 90 calendar days), provide all reasonable transition assistance requested by the State, to allow for the expired or terminated portion of the Contract Activities to continue without interruption or adverse effect, and to facilitate the orderly transfer of such Contract Activities to the State or its designees. Such transition assistance may include, but is not limited to: (a) continuing to perform the Contract Activities at the established Contract rates; (b) taking all reasonable and necessary measures to transition performance of the work, including all applicable Contract Activities, training, equipment, software, leases, reports and other documentation, to the State or the State’s designee;  (c) transferring title in and delivering to the State, at the State’s discretion, all completed or partially completed deliverables prepared under this Contract as of the Contract termination date; and (d) preparing an accurate accounting from which the State and Contractor may reconcile all outstanding accounts (collectively, “Transition Responsibilities”). This Contract will automatically be extended through the end of the transition period.

- Return of State Property. Upon termination or expiration of this Contract for any reason, Contractor must take all necessary and appropriate steps, or such other action as the State may direct, to preserve, maintain, protect, or return to the State all materials, data, property, and confidential information provided directly or indirectly to the Contractor by any entity, agent, vendor, or employee of the State.

- Indemnification. Contractor must defend, indemnify and hold the State, its departments, divisions, agencies, offices, commissions, officers, and employees harmless, without limitation, from and against any and all actions, claims, losses, liabilities, damages, costs, attorney fees, and expenses (including those required to establish the right to indemnification), arising out of or relating to: (a) any breach by Contractor (or any of Contractor’s employees, agents, subcontractors, or by anyone else for whose acts any of them may be liable) of any of the promises, agreements, representations, warranties, or insurance requirements contained in this Contract; (b) any infringement, misappropriation, or other violation of any intellectual property right or other right of any third party; (c) any bodily injury, death, or damage to real or tangible personal property occurring wholly or in part due to action or inaction by Contractor (or any of Contractor’s employees, agents, subcontractors, or by anyone else for whose acts any of them may be liable); and (d) any acts or omissions of Contractor (or any of Contractor’s employees, agents, subcontractors, or by anyone else for whose acts any of them may be liable).

The State will notify Contractor in writing if indemnification is sought; however, failure to do so will not relieve Contractor, except to the extent that Contractor is materially prejudiced. Contractor must, to the satisfaction of the State, demonstrate its financial ability to carry out these obligations.

The State is entitled to: (i) regular updates on proceeding status; (ii) participate in the defense of the proceeding; (iii) employ its own counsel; and to (iv) retain control of the defense, at its own cost and expense, if the State deems necessary. Contractor will not, without the State’s prior written consent (not to be unreasonably withheld), settle, compromise, or consent to the entry of any judgment in or otherwise seek to terminate any claim, action, or proceeding.

Any litigation activity on behalf of the State, or any of its subdivisions under this Section, must be coordinated with the Department of Attorney General. An attorney designated to represent the State may not do so until approved by the Michigan Attorney General and appointed as a Special Assistant Attorney General.

The State is constitutionally prohibited from indemnifying Contractor or any third parties.

- Infringement Remedies. If, in either party’s opinion, any piece of equipment, software, commodity, or service supplied by Contractor or its subcontractors, or its operation, use or reproduction, is likely to become the subject of a copyright, patent, trademark, or trade secret infringement claim, Contractor must, at its expense: (a) procure for the State the right to continue using the equipment, software, commodity, or service, or if this option is not reasonably available to Contractor, (b) replace or modify the same so that it becomes non-infringing; or (c) accept its return by the State with appropriate credits to the State against Contractor’s charges and reimburse the State for any losses or costs incurred as a consequence of the State ceasing its use and returning it.

- Limitation of Liability and Disclaimer of Damages. IN NO EVENT WILL THE STATE’S AGGREGATE LIABILITY TO CONTRACTOR UNDER THIS CONTRACT, REGARDLESS OF THE FORM OF ACTION, WHETHER IN CONTRACT, TORT, NEGLIGENCE, STRICT LIABILITY OR BY STATUTE OR OTHERWISE, FOR ANY CLAIM RELATED TO OR ARISING UNDER THIS CONTRACT, EXCEED THE MAXIMUM AMOUNT OF FEES PAYABLE UNDER THIS CONTRACT. The State is not liable for consequential, incidental, indirect, or special damages, regardless of the nature of the action.

- Disclosure of Litigation, or Other Proceeding. Contractor must notify the State within 14 calendar days of receiving notice of any litigation, investigation, arbitration, or other proceeding (collectively, “Proceeding”) involving Contractor, a subcontractor, or an officer or director of Contractor or subcontractor, that arises during the term of the Contract, including: (a) a criminal Proceeding; (b) a parole or probation Proceeding; (c) a Proceeding under the Sarbanes-Oxley Act; (d) a civil Proceeding involving: (1) a claim that might reasonably be expected to adversely affect Contractor’s viability or financial stability; or (2) a governmental or public entity’s claim or written allegation of fraud; or (3) any complaint filed in a legal or administrative proceeding alleging the Contractor or its subcontractors discriminated against its employees, subcontractors, vendors, or suppliers during the term of this Contract; or (e) a Proceeding involving any license that Contractor is required to possess in order to perform under this Contract.

- State Data. All data and information provided to Contractor by or on behalf of the State, and all data and information derived therefrom, is the exclusive property of the State (“State Data”); this definition is to be construed as broadly as possible. Upon request, Contractor must provide to the State, or a third party designated by the State, all State Data within 10 calendar days of the request and in the format requested by the State. Contractor will assume all costs incurred in compiling and supplying State Data. No State Data may be used for any marketing or commercial purposes.

- Reserved.

- Non-Disclosure of Confidential Information. The parties acknowledge that each party may be exposed to or acquire communication or data of the other party that is confidential, privileged communication not intended to be disclosed to third parties.

  - Meaning of Confidential Information. For the purposes of this Contract, the term “Confidential Information” means all information and documentation of a party that: (a) has been marked “confidential” or with words of similar meaning, at the time of disclosure by such party; (b) if disclosed orally or not marked “confidential” or with words of similar meaning, was subsequently summarized in writing by the disclosing party and marked “confidential” or with words of similar meaning; or, (c) should reasonably be recognized as confidential information of the disclosing party. The term “Confidential Information” does not include any information or documentation that was or is: (a) subject to disclosure under the Michigan Freedom of Information Act (FOIA); (b) already in the possession of the receiving party without an obligation of confidentiality; (c) developed independently by the receiving party, as demonstrated by the receiving party, without violating the disclosing party’s proprietary rights; (d) obtained from a source other than the disclosing party without an obligation of confidentiality; or, (e) publicly available when received, or thereafter became publicly available (other than through any unauthorized disclosure by, through, or on behalf of, the receiving party). For purposes of this Contract, in all cases and for all matters, State Data is deemed to be Confidential Information.

  - Obligation of Confidentiality. The parties agree to hold all Confidential Information in strict confidence and not to copy, reproduce, sell, transfer, or otherwise dispose of, give or disclose such Confidential Information to third parties other than employees, agents, or subcontractors of a party who have a need to know in connection with this Contract or to use such Confidential Information for any purposes whatsoever other than the performance of this Contract. The parties agree to advise and require their respective employees, agents, and subcontractors of their obligations to keep all Confidential Information confidential. Disclosure to a subcontractor is permissible where: (a) use of a subcontractor is authorized under this Contract; (b) the disclosure is necessary or otherwise naturally occurs in connection with work that is within the subcontractor's responsibilities; and (c) Contractor obligates the subcontractor in a written contract to maintain the State's Confidential Information in confidence. At the State's request, any employee of Contractor or any subcontractor may be required to execute a separate agreement to be bound by the provisions of this Section.

  - Cooperation to Prevent Disclosure of Confidential Information. Each party must use its best efforts to assist the other party in identifying and preventing any unauthorized use or disclosure of any Confidential Information. Without limiting the foregoing, each party must advise the other party immediately in the event either party learns or has reason to believe that any person who has had access to Confidential Information has violated or intends to violate the terms of this Contract and each party will cooperate with the other party in seeking injunctive or other equitable relief against any such person.

  - Remedies for Breach of Obligation of Confidentiality. Each party acknowledges that breach of its obligation of confidentiality may give rise to irreparable injury to the other party, which damage may be inadequately compensable in the form of monetary damages. Accordingly, a party may seek and obtain injunctive relief against the breach or threatened breach of the foregoing undertakings, in addition to any other legal remedies which may be available, to include, in the case of the State, at the sole election of the State, the immediate termination, without liability to the State, of this Contract or any Statement of Work corresponding to the breach or threatened breach.

  - Surrender of Confidential Information upon Termination. Upon termination of this Contract or a Statement of Work, in whole or in part, each party must, within 5 calendar days from the date of termination, return to the other party any and all Confidential Information received from the other party, or created or received by a party on behalf of the other party, which are in such party’s possession, custody, or control; provided, however, that Contractor must return State Data to the State following the timeframe and procedure described further in this Contract. Should Contractor or the State determine that the return of any Confidential Information is not feasible, such party must destroy the Confidential Information and must certify the same in writing within 5 calendar days from the date of termination to the other party. However, the State’s legal ability to destroy Contractor data may be restricted by its retention and disposal schedule, in which case Contractor’s Confidential Information will be destroyed after the retention period expires.

- Reserved.

- Reserved.

- Reserved.

- Records Maintenance, Inspection, Examination, and Audit. Pursuant to MCL 18.1470, the State or its designee may audit Contractor to verify compliance with this Contract. Contractor must retain and provide to the State or its designee and the auditor general upon request, all records related to the Contract through the term of the Contract and for 4 years after the latter of termination, expiration, or final payment under this Contract or any extension (“Audit Period”). If an audit, litigation, or other action involving the records is initiated before the end of the Audit Period, Contractor must retain the records until all issues are resolved.

Within 10 calendar days of providing notice, the State and its authorized representatives or designees have the right to enter and inspect Contractor's premises or any other places where Contract Activities are being performed, and examine, copy, and audit all records related to this Contract. Contractor must cooperate and provide reasonable assistance. If financial errors are revealed, the amount in error must be reflected as a credit or debit on subsequent invoices until the amount is paid or refunded. Any remaining balance at the end of the Contract must be paid or refunded within 45 calendar days.

This Section applies to Contractor, any parent, affiliate, or subsidiary organization of Contractor, and any subcontractor that performs Contract Activities in connection with this Contract.

- Representations and Warranties. Contractor represents and warrants: (a) Contractor is the owner or licensee of any Contract Activities that it licenses, sells, or develops and Contractor has the rights necessary to convey title, ownership rights, or licensed use; (b) all Contract Activities are delivered free from any security interest, lien, or encumbrance and will continue in that respect; (c) the Contract Activities will not infringe the patent, trademark, copyright, trade secret, or other proprietary rights of any third party; (d) Contractor must assign or otherwise transfer to the State or its designee any manufacturer's warranty for the Contract Activities; (e) the Contract Activities are merchantable and fit for the specific purposes identified in the Contract; (f) the Contract signatory has the authority to enter into this Contract; (g) all information furnished by Contractor in connection with the Contract fairly and accurately represents Contractor's business, properties, finances, and operations as of the dates covered by the information, and Contractor will inform the State of any material adverse changes;(h) all information furnished and representations made in connection with the award of this Contract is true, accurate, and complete, and contains no false statements or omits any fact that would make the information misleading; and that (i) Contractor is neither currently engaged in nor will engage in the boycott of a person based in or doing business with a strategic partner as described in 22 USC 8601 to 8606. A breach of this Section is considered a material breach of this Contract, which entitles the State to terminate this Contract under Section 24, Termination for Cause.

- Conflicts and Ethics. Contractor will uphold high ethical standards and is prohibited from: (a) holding or acquiring an interest that would conflict with this Contract; (b) doing anything that creates an appearance of impropriety with respect to the award or performance of the Contract; (c) attempting to influence or appearing to influence any State employee by the direct or indirect offer of anything of value; or (d) paying or agreeing to pay any person, other than employees and consultants working for Contractor, any consideration contingent upon the award of the Contract. Contractor must immediately notify the State of any violation or potential violation of these standards. This Section applies to Contractor, any parent, affiliate, or subsidiary organization of Contractor, and any subcontractor that performs Contract Activities in connection with this Contract.

- Compliance with Laws. Contractor must comply with all federal, state and local laws, rules and regulations.

- Reserved.

- Reserved.

- Nondiscrimination. Under the Elliott-Larsen Civil Rights Act, 1976 PA 453, MCL 37.2101, et seq., the Persons with Disabilities Civil Rights Act, 1976 PA 220, MCL 37.1101, et seq., and Executive Directive 2019-09, Contractor and its subcontractors agree not to discriminate against an employee or applicant for employment with respect to hire, tenure, terms, conditions, or privileges of employment, or a matter directly or indirectly related to employment, because of race, color, religion, national origin, age, sex, sexual orientation, gender identity or expression, height, weight, marital status, partisan considerations, any mental or physical disability, or genetic information that is unrelated to the person’s ability to perform the duties of a particular job or position. Breach of this Section is a material breach of this Contract.

- Unfair Labor Practice. Under MCL 423.324, the State may void this Contract if the name of the Contractor, or the name of a subcontractor, manufacturer, or supplier of the Contractor, subsequently appears on the Unfair Labor Practice register compiled under MCL 423.322.

- Governing Law. This Contract is governed, construed, and enforced in accordance with Michigan law, excluding choice-of-law principles. Contractor waives any objections, such as lack of personal jurisdiction or forum non conveniens. Contractor must appoint an agent in Michigan to receive service of process.

- Non-Exclusivity. Nothing contained in this Contract is intended nor is to be construed as creating any requirements contract with Contractor, nor does it provide Contractor with a right of first refusal for any future work. This Contract does not restrict the State or its agencies from acquiring similar, equal, or like Contract Activities from other sources.

- Force Majeure. Neither party will be in breach of this Contract because of any failure arising from any disaster or acts of god that are beyond their control and without their fault or negligence. Each party will use commercially reasonable efforts to resume performance. Contractor will not be relieved of a breach or delay caused by its subcontractors. If immediate performance is necessary to ensure public health and safety, the State may immediately contract with a third party.

- Dispute Resolution. The parties will endeavor to resolve any Contract dispute in accordance with this provision. The dispute will be referred to the parties' respective Contract Administrators or Program Managers. Such referral must include a description of the issues and all supporting documentation. The parties must submit the dispute to a senior executive if unable to resolve the dispute within 15 business days. The parties will continue performing while a dispute is being resolved, unless the dispute precludes performance. A dispute involving payment does not preclude performance.

Litigation to resolve the dispute will not be instituted until after the dispute has been elevated to the parties’ senior executive and either concludes that resolution is unlikely or fails to respond within 15 business days. The parties are not prohibited from instituting formal proceedings: (a) to avoid the expiration of statute of limitations period; (b) to preserve a superior position with respect to creditors; or (c) where a party makes a determination that a temporary restraining order or other injunctive relief is the only adequate remedy. This Section does not limit the State’s right to terminate the Contract.

- Media Releases. News releases (including promotional literature and commercial advertisements) pertaining to the Contract or project to which it relates must not be made without the prior written approval of the State, and then only in accordance with the explicit written instructions of the State.

- Schedules. All Schedules and Exhibits that are referenced herein and attached hereto are hereby incorporated by reference. The following Schedules are attached hereto and incorporated herein:

| Document Title | Document Description |
| --- | --- |
| Schedule A | Statement of Work |
| Schedule B | Pricing |
| Schedule C | Estimated Drainage Structure Inventory |
| Schedule D | Equipment List |

- Entire Agreement and Order of Precedence. This Contract, which includes Statement of Work, and schedules and exhibits, is the entire agreement of the parties related to the Contract Activities. This Contract supersedes and replaces all previous understandings and agreements between the parties for the Contract Activities. If there is a conflict between documents, the order of precedence is: (a) first, this Contract, excluding its schedules, exhibits, and Statement of Work; (b) second, Statement of Work as of the Effective Date; and (c) third, schedules expressly incorporated into this Contract as of the Effective Date. NO TERMS ON CONTRACTOR’S INVOICES, ORDERING DOCUMENTS, WEBSITE, BROWSE-WRAP, SHRINK-WRAP, CLICK-WRAP, CLICK-THROUGH OR OTHER NON-NEGOTIATED TERMS AND CONDITIONS PROVIDED WITH ANY OF THE CONTRACT ACTIVITIES, OR DOCUMENTATION HEREUNDER, EVEN IF ATTACHED TO THE STATE’S DELIVERY OR PURCHASE ORDER, WILL CONSTITUTE A PART OR AMENDMENT OF THIS CONTRACT OR IS BINDING ON THE STATE OR ANY AUTHORIZED USER FOR ANY PURPOSE. ALL SUCH OTHER TERMS AND CONDITIONS HAVE NO FORCE AND EFFECT AND ARE DEEMED REJECTED BY THE STATE AND THE AUTHORIZED USER, EVEN IF ACCESS TO OR USE OF THE CONTRACT ACTIVITIES REQUIRES AFFIRMATIVE ACCEPTANCE OF SUCH TERMS AND CONDITIONS.

- Severability. If any part of this Contract is held invalid or unenforceable, by any court of competent jurisdiction, that part will be deemed deleted from this Contract and the severed part will be replaced by agreed upon language that achieves the same or similar objectives. The remaining Contract will continue in full force and effect.

- Waiver. Failure to enforce any provision of this Contract will not constitute a waiver.

- Survival.  Any right, obligation or condition that, by its express terms or nature and context is intended to survive, will survive the termination or expiration of this Contract; such rights, obligations, or conditions include, but are not limited to, those related to transition responsibilities; indemnification; disclaimer of damages and limitations of liability; State Data; non-disclosure of Confidential Information; representations and warranties; insurance and bankruptcy.

- Contract Modification. This Contract may not be amended except by signed agreement between the parties (a “Contract Change Notice”). Notwithstanding the foregoing, no subsequent Statement of Work or Contract Change Notice executed after the Effective Date will be construed to amend this Contract unless it specifically states its intent to do so and cites the section or sections amended.

- Accessibility Requirement. All Contract Activities created, provided, or made available by Contractor under this Contract in a digital format, including but not limited to, websites, applications, software, mobile applications, text, images, sounds, videos, controls, animations, links, and documents (including files in the following formats: PDF, word processing, presentation, and spreadsheet) (hereinafter “Digital Deliverables”), must conform to the accessibility standards provided in the SOM Digital Standards, located at https://www.michigan.gov/standards (the “Digital Accessibility Standards”). Throughout the Term of the Contract, Contractor must: (a) ensure that no changes made by Contractor to any Digital Deliverables will have any adverse effect on conformance to the Digital Accessibility Standards; and (b) comply with plans and timelines approved by the State to remediate issues and achieve conformance with the Digital Accessibility Standards in the event of any deficiencies, at its sole cost and expense.

Contractor must enter company name here.

Schedule A – statement of work

Request for Proposal (RFP) No. 260000001188

Catch Basin/Drainage System Cleaning – Oakland County

This schedule identifies the anticipated requirements of any Contract resulting from this RFP. The term “Contractor” in this document refers to a bidder responding to this RFP, as well as the Contractor who is awarded the contract. The term “bidder” is used to identify where specific responses to the RFP are required.

The Contractor must respond to each requirement or question and explain how it will fulfill each requirement. Attach any supplemental information and appropriately reference within your response.

IMPORTANT NOTE TO CONTRACTORS/BIDDERS: There are specific requirements for which acceptance must be simply acknowledged through a checkbox(es), and others that require further explanation. Click one checkbox and complete the entries as identified.

BACKGROUND

Michigan Department of Transportation (MDOT) is responsible for maintaining drainage structures, storm drains, and/or catch basins within the roadway system.  Maintenance includes periodically cleaning drainage systems to preserve the ability to trap sediment, and consequently, the ability to prevent flooding.  The removal of sediment, decaying debris, and highly polluted water from drainage structures has aesthetic and water quality benefits, including reducing foul odors, reducing suspended solids, and reducing the load of oxygen-demanding substances that reach receiving waters.

To meet their maintenance responsibilities, MDOT Oakland Transportation Center (TSC) is seeking a contractor to provide storm drain/catch basin cleaning services in specified roadway right of way locations throughout Oakland County.

The result of this RFP will contract with a term of approximately three years with two one-year renewal options.

SCOPE

The Contractor must probe, inspect, document observations, and clean drainage structures located within Oakland County right of way locations identified in Schedule C – Estimated Drainage Structure Inventory.  The Contractor must remove and dispose of waste generated from cleanout operations, provide and maintain traffic control, and update the existing structure inventory and record any locations not listed in the provided inventory map (the “Contract Activities”).

Services will be performed throughout the year; however, most services will typically be requested and performed between March 30 and November 15.  MDOT estimates 2,840 structures will be serviced annually; however, actual work performed will be as needed or as determined by the Program Manager or designee. The rate at which drainage structures fill with debris, the total amount of material that can be removed, and the frequencies of cleaning are highly variable and cannot be readily predicted.

- REQUIREMENTS

  - General Requirements

- Drainage structures include manholes, catch basins, leaching basins, inlets, drop inlets, concrete footing or precast sump; and are used for access to new or existing sewers with a diameter no greater than 48 inches.

- The Contractor must clean existing drainage structures in accordance with Section 403.03. G. Cleaning Existing Drainage Structures and Leads of the MDOT 2020 Standard Specifications for Construction (see MDOT 2020 Standard Specifications for Construction [WEB]-linked).

- Contract Activities must be performed during off-peak daylight hours or during nighttime hours to reduce traffic impacts and enhance worker and public safety.

- Do not work, deliver material, or close lanes during the recognized State Holiday Periods (Memorial Day, Fourth of July, Labor Day, Thanksgiving).

- The cost of labor, equipment, material, testing for disposal, hauling and disposing of waste material, traffic maintenance and control, mobilization, and incidentals necessary to Contract Activities must be part of and included in the cost of Service Items.

- The Contractor must comply with all federal, state, and local laws and regulations, including those governing environmental protection; and must furnish and use of all safeguards, safety devices, and protective equipment as prescribed by laws and regulations.  Contractor shall take any other actions themselves or as directed by MDOT, to protect the safety and health of on-the-job employees, the public, state employees, State property, and property of the local unit of government during the performance of the Contract.

- The Contractor shall conduct and supervise work to insure its completion in an efficient, workmanlike manner and in accordance with the terms of the Contract.

- The Contractor is responsible for any citations, fines, or tickets received while performing Contract Activities.

Bidder response:

| ☐ | I have reviewed the above requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed the above requirements and have noted all exception(s) below. |
| List all exception(s): |  |

  - `Routine Drainage Structure Services

Before Contractor starts work, the MDOT Program Manager will identify the areas of the corridor that require routine drainage structure service.  All routine drainage structure services will be paid on a unit price per drainage structure.  The unit price includes all labor and equipment for cleaning operations, hauling, testing (if required for disposal), disposing of all waste generated from cleaning operations, and all traffic control required for cleaning operations.

- Drainage Structure Observation.  This service item covers drainage structures scheduled for cleanout but, upon Contractor inspection, determined waste accumulation is less than six inches (6”) and does not warrant cleanout services.  The Contractor must observe, inspect, and probe drainage structures to determine the amount of material in each drainage structure.  Drainage Structure Observation shall include the following tasks:

- Visually inspect the outside of the cover.

- Remove manhole cover; photograph inside of structure and enter photo in GIS.

- Visually inspect manhole; if deficiencies are discovered, enter remark in GIS and notify MDOT Program Manager.

- Probe structure to determine depth of material in the structure; take photographs of probe while probing material; enter photo(s) and report the amount of accumulated material in GIS.

- Routine Drainage Structure Cleaning, Off-Peak Daylight Hours.  The Contractor must clean all drainage structures during off-peak daylight hours – from 9:00 a.m. to 3:00 p.m. Drainage structure is considered clean if two inches (2”) or less of material remains at the bottom.  Routine Drainage Structure Cleaning, Off-Peak Daylight Hours shall include the following tasks:

- Provide traffic control.

- Remove cover to drainage structure; take “before” photograph(s) of inside of structure and enter photo(s) in GIS.

- Clean drainage structures of sand, silt, debris, and other deleterious material.

- Use appropriate equipment as specified in Section 3 Equipment Requirements.

- Take “after” photograph(s) of the inside of the structure after it is cleaned and enter photo(s) in GIS.

- Inspect drainage structure for structural integrity and report additional maintenance or repair needs in GIS.

- If material requiring hand chipping or large debris removal is discovered inside drainage structure, work must be approved by MDOT Program Manager prior to performance. Mark the grate with orange letter “X”, enter remark in GIS, and notify MDOT Program Manager.

- If hazardous conditions are observed or suspected, enter remark in GIS and notify MDOT Program Manager.

- If illicit discharges are observed or suspected, enter remark in GIS and notify MDOT Program Manager.

- Reinstall the grate. All rims or seats must be cleaned for proper fit in place.

- Dispose of waste generated from the cleanout operation.

- Routine Drainage Structure Cleaning, Nighttime Hours.  The Contractor must clean all drainage structures during nighttime hours – between 8:00 p.m. and 5:00 a.m.  Drainage structure is considered clean if two inches (2”) or less of material remains at the bottom.

- Routine Drainage Structure Cleaning, Nighttime Hours shall include the same tasks as specified in Section B. Routine Drainage Structure Cleaning, Off-Peak Daylight Hours.

- Nighttime operations must comply with Section 812.03.H. Lighting for Night Work of the MDOT 2020 Standard Specifications for Construction.

Bidder response:

| ☐ | I have reviewed the above requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed the above requirements and have noted all exception(s) below. |
| List all exception(s): |  |

  - Non-Routine Drainage Structure Services

Non-routine drainage structure services are typically done in conjunction with localized drainage structure blockage and/or localized flooding and are performed at the request and direction of the MDOT Program Manager.  Non-routine drainage structure services will be paid at the unit price Half Day or will be paid at the unit price Full Day as mutually agreed between the Contractor and MDOT Program Manager prior to start of work. The unit price must include all labor and equipment for performing the non-routine service.

- Hand Chipping.  The Contractor must use hand methods to remove foreign concrete from the inside of the drainage structure.

- The Contractor must provide all necessary hand chipping tools, including but not limited to compressor, jack hammer, air hammer, air chisel, drills, etc.  All equipment must be appropriate for work in confined space.

- Contractor’s personnel assigned to perform chipping must be certified in confined space entry. Documentation of personnel training must be provided if requested by the MDOT Program Manager or designee.

- Placing and Removing Temporary Bulkhead.  The Contractor must place and remove a temporary bulkhead to allow for proper drainage cleaning.

- Cleaning Drainage Structure Leads.  Cleaning drainage structure leads shall include the following tasks and includes the slotted drains:

- Clean each run of pipe in its entirety from structure to structure.

- Break up sludge, debris, roots, hardened scale and flush out the system.

- Clean leads of sand, silt, debris, and other deleterious material.

- Use appropriate equipment as specified in Section 3 Equipment Requirements.

- Dispose of waste generated from the cleanout operation.

Bidder response:

| ☐ | I have reviewed the above requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed the above requirements and have noted all exception(s) below. |
| List all exception(s): |  |

  - CCTV and Operator.

The Contractor must provide closed circuit television (CCTV) equipment and equipment operator and inspect drainage systems.  CCTV and operator will be paid at an hourly rate and must include all costs to perform dewatering, flow control, video inspection, and documentation.

CCTV and Operator will include:

- Using a CCTV camera designed and constructed for inspecting sewers and equipped with the following features:

- Underwater operation and capable of producing a high-quality picture.

- A pan and tilt head external to the main body of the camera to allow inspection of the sewer joints and cracks or other defects.

- Lighting to allow a clear picture of the perimeter of the pipe.

- Dewatering or diverting flow in sewers, if necessary, for use of camera inspection.

Bidder response:

| ☐ | I have reviewed the above requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed the above requirements and have noted all exception(s) below. |
| List all exception(s): |  |

  - Emergency Cleaning Requests

Emergency cleaning services are typically requested and performed in conjunction with localized flooding.  The Contractor must be available 24 hours, seven (7) day s week; must organize their operations; and must immediately respond to emergency requests.

- The MDOT Program Manager or designee will contact the Contractor to request emergency services.  The Contractor must be at the designated site and begin cleaning operations within two (2) hours of notice from MDOT.

- Payment for emergency cleaning services will be paid at an hourly rate.

- Billable time will begin when the Contractor arrives at the designated site.  One additional hour for travel to the jobsite and one additional hour for travel from the jobsite will be allowed for each emergency request.

- Hourly rate must include all costs for mobilization, personnel/operators, appropriate equipment, fees for disposal of debris, and incidentals necessary to perform service.  No other individual pay items will be paid for an emergency cleaning request.

Bidder response:

| ☐ | I have reviewed the above requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed the above requirements and have noted all exception(s) below. |
| List all exception(s): |  |

  - Traffic Control

The Contractor must maintain traffic throughout drainage system cleaning operations.  Traffic control consists of protecting, regulating, warning, guiding, and maintaining traffic through and around the work zone by furnishing, operating, and removing traffic control devices.  Payment for traffic control is included in the unit prices for Routine Drainage Structure Services and unit prices for Non-Routine Drainage Structure Services.

- The Contractor must furnish and place all necessary warning and directional devices to maintain traffic.  This includes traffic signs, channelizing devices, lighting devices, temporary attenuators, lighted arrows, portable changeable signs, conspicuity tape, and other material necessary to provide traffic control for short term mobile operations.

- Temporary traffic  control devises must be installed and maintained in accordance with Section 812 of the MDOT 2020 Standard Specifications for Construction, the current edition of the Michigan Manual of Uniform Traffic Control Devices (MMUTCD) (see MDOT - Transportation Standards and Special Details), Chapter 8 of the Work Zone Safety and Mobility Manual (see Work Zone Safety and Mobility Manual), and applicable Maintenance Maintaining Traffic Typicals (see  MDOT - Transportation Standards and Special Details).

- Lane closures will be required when the shoulder is too narrow to accommodate equipment. When any part of a thru lane is used, the entire lane should be closed.

- The MDOT Program Manager must approve any lane or shoulder closure prior to implementation.

- Lane closures must be requested by completing a Lane Closure Request (LCR) form [see MDOT LANE CLOSURE NOTIFICATION/REQUEST FORM (state.mi.us)].  The LCR must be submitted to the MDOT Program Manager five (5) days in advance of closure.

- Lane closures are allowed from 9:00 a.m. to 3:00 p.m. and from 8:00 p.m. to 5:00 a.m., Monday through Friday, and 24/7 on weekends. Extended hours may be approved by the Program Manager.

- Shoulder closures are allowed 24/7.

- Truck Mounted Attenuator (TMA) will be used for projects on freeways and roadways with operation speeds of 45 mph or greater where personnel or equipment are exposed to traffic.

- All operations must be conducted in a manner that will not create a hazard or hinder traffic. The Contractor must not operate equipment in a manner that requires unnecessary crossing of the roadway. The Contractor must not store equipment in the right of way of any roads or on State property when not engaged in cleaning operations.

- For non-conformance to traffic control requirements or other safety procedures the MDOT Program Manager or designee has the right to shut down the catch basin cleaning operation until the issue is corrected.

Bidder response:

| ☐ | I have reviewed the above requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed the above requirements and have noted all exception(s) below. |
| List all exception(s): |  |

  - Disposal of Material

The Contractor must dispose of waste generated from cleanout operation in accordance with MDOT 2020 Standard Specifications for Construction subsection 403.03.G.1 Disposal Alternative A, or subsection 403.03.G.2 Disposal Alternative B. At no time will waste material or storage containers be staged/stored on MDOT properties or right of way.

If the Contractor suspects the waste generated from cleanout operation is contaminated material – either nonhazardous or hazardous contamination – the Contractor must notify the MDOT Program Manager.  If testing shows the material is a hazardous waste as defined in Part 111, Hazardous Waste Management of the Natural Resources and Environmental Protection Act (Michigan Complied Laws [MCL} 324.11101 et seq.), the Contractor must immediately notify the MDOT Program Manager.

Payment for disposal of material is included in the unit prices for Routine Drainage Structure Services and unit prices for Non-Routine Drainage Structure Services.

Bidder response:

| ☐ | I have reviewed the above requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed the above requirements and have noted all exception(s) below. |
| List all exception(s): |  |

- ARCGIS SYSTEM REQUIREMENTS

  - Use of ArcGIS

The Contractor must use ArcGIS software to track, monitor, and record all required information in the MDOT catch basin cleaning database. The database is portrayed in the form of a map that can be accessed on desktop computers with an Internet connection via ArcGIS Online (AGO) and on devices in the field (such as smart phones or tablets) via ArcGIS Online Applications.  ArcGIS smart device applications are available for free installation on iOS and Android devices.  MDOT will provide user credentials to the Contractor for access to the applicable database.  If the Contractor has existing AGOL credentials, these can be associated with the databases for the Contract.

- MDOT and Contractor will share the same map database. The database will be backed up by MDOT periodically to monitor any changes. Data points from the map can be extracted and used for reporting and invoicing purposes. There will be limitations on what information MDOT and/or the Contractor can modify in the ArcGIS database.

- The Contractor will utilize ArcGIS applications to view and locate assigned for cleaning; and record performed service data including, but not limited to, date of service; catch basin condition rating; amount of debris removed; notes; taking a photo after cleaning; traffic control used; additional work recommended or performed; and other data as directed by MDOT.

  - Device Requirements

The Contractor must have smart devices with cellular connections, such as phones or tablets, which must have both location services and photos enabled.  Devices must be able to access and install the latest version of ArcGIS Online applications.

Any costs associated with mobile devices are the responsibility of the Contractor; MDOT will not provide computers or smart devices for the Contractor's use.

  - Installation and Set-Up

Installation and Set-up of ArcGIS app for smart devices are no cost.  However, the Contractor may incur applicable data charges for usage.

ArcGIS Online is available through the Internet via Edge, Google Chrome or Firefox. (Internet Explorer should not be used to access ArcGIS.)  ArcGIS can be used on multiple existing computers or smart devices assigned to Contractor’s staff/personnel.

If the Contractor already has an AGO account with user credentials, the existing credentials may be associated with the database/web map and other developed applications for the Contract.  If the Contractor does not already have AGO user credentials, MDOT will provide these to the Contractor for access to AGO, for interfacing with the map and for downloading data to facilitate payment processing.

  - Training

MDOT will provide training, free of charge to the Contractor, on how to use the ArcGIS Online interface for computers (via the Internet) and for smart devices via free and installed apps. The Contractor must know or bring all necessary access to each computer and smart device to the training, including usernames and passwords, Apple IDs, etc. This training will take place at a mutually convenient location. It is required for all essential Contractor employees to complete this training prior to beginning work. Essential Contractor employees include personnel who will be entering information into the map database in the field or extracting the data for invoicing purposes.  MDOT will provide ongoing assistance to the Contractor for the ArcGIS software, as needed.

Bidder response:

| ☐ | I have reviewed all Section 2. requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed all Section 2. requirements and have noted all exception(s) below. |
| List all exception(s): |  |

- EQUIPMENT REQUIREMENTS

  - General

- The Contractor must furnish, operate, and maintain suitable and adequate equipment necessary to perform Contract Activities in an approved, safe, and workmanlike manner without hindrance, delay, or damage to the roadside.

- All equipment must meet all federal, state, and local safety requirements. Equipment shall be equipped with commercial type flashing amber lights plainly visible from all directions. Flashers shall have a minimum of 32 candlepower output and flash 50 to 60 times per minute.

- MDOT reserves the right to inspect Contractor’s equipment prior to Contract award and at any time during the contract term to evaluate condition of equipment and determine if inventory of equipment is adequate to complete Contract Activities.  All equipment must be in the Contractor’s possession and available for visual inspection.  All equipment shall be approved by MDOT through a demonstration of the equipment's capabilities, suitability, and condition. Demonstrations will be at no cost to MDOT.

- Equipment failure WILL NOT constitute an acceptable reason for failure to perform Contract Activities.

- Under no circumstances will MDOT be responsible for any damage to the Contractor’s equipment due to a crash or obstacles encountered.

- Use of equipment will be paid for and is included in the unit prices for Routine Drainage Structure Services and unit prices for Non-Routine Drainage Structure Services.

  - Sewer Cleaners

The Contractor must have Jet-Vac combination sewer cleaner units (Vactor 2100 or equivalent).

- Sewer cleaner units must be equipped with positive displacement vacuum system mounted on a heavy-duty chassis or equivalent to perform both vacuuming and jetting operations.

- Sewer cleaner units must be equipped with a highly maneuverable boom and powerful vacuum source to move from basin to basin, cleaning out rocks, dirt, leaves, litter and other debris.

- Sewer cleaner units must meet or exceed the followings minimum requirements:

- DEBRIS BODY: The debris tank shall be capable of collecting and transporting 15 cubic yards of waste.

- WATER TANKS: Water tanks must have a minimum capacity of 1500 gallons. Water tanks must be capable of utilizing complete capacity of 1500 gallons via suction sump below lowest point of tanks.

- VACUUM SYSTEM AND DRIVE: Blower shall produce 3500 CFM inlet volume @18" Hg vacuum (Roots 824-RAS-J 18” or equal). For added protection vacuum system shall have three (3) relief valves set at 18" Hg. and shall be enclosed with a steel cage guard for safety.

- WATER PUMP: High pressure water pump must provide precise 0-80 GPM controlled flow at variable pressure up to 2500 PS. High-pressure water (rodder) pump system shall include controls for operation of three modes: (1) Low-flow 0-22 gpm/2500 psi; (2) Medium-flow sewer-cleaning, 22-60 gpm/2500 psi; and (3) High-flow sewer-cleaning, 60-100 gpm / 2500 psi.  The water pump shall provide precise 0-80 GPM controlled flow at variable pressure up to 2500 PSI.

- For lead cleaning purposes, sewer cleaner unit must be equipped with drainage structure cleaning water system providing 0-25 gpm at 600 PSI.

- Sewer cleaner units must be equipped with appropriate jetter heads in good working condition.

  - Truck Mounted Attenuators

TMAs and use of TMAs must comply with MDOT’s Special Provision 20SP-812A-02 for Mobil Attenuator (see 20SP-812A-02.pdf).

Bidder response:

| ☐ | I have reviewed all Section 3. requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed all Section 3. requirements and have noted all exception(s) below. |
| List all exception(s): |  |

- OTHER SERVICE REQUIREMENTS

  - Public Convenience and Safety

# The Contractor must comply with all federal, state, and local laws and regulations, including those governing environmental protection and the furnishing and use of all safeguards, safety devices, and protective equipment. The Contractor shall take any other actions, on either his/her own responsibility or as directed by the Program Manager, reasonably necessary to protect the safety and health of employees on the job and the public and to protect property during the performance of Contract Activities.

  - Damages

- The Contractor must, at their own expense, preserve and protect from injury all public and/or private property along and adjacent to the roadway. The Contractor must repair, at their own expense, any and all damage and injury thereto, arising out of or in consequence of any act or omission of the Contractor or their employees, in the performance Contract Activities.

- The Contractor must immediately repair all damage to signs, light fixtures, and delineators to the satisfaction of the MDOT Program Manager. Damage to traffic control devices (signs) and/or manholes shall be immediately reported to the MDOT Program Manager or designee. If localized failure of the drainage structure or roadway is imminent, immediately contact the MDOT Program Manager. All other remarks should be included in the weekly report.

- All landscape plant material damaged by the Contractor shall be replaced in kind, according to Sections 815 and 917 of the MDOT 2020 Standard Specifications for Construction.

- If public or private owned/leased property or equipment is damaged, the Contractor must notify the MDOT Program Director or designee of the facts and extent of the damage verbally within one hour of the damage or discovery of damage; followed by a written notification within 24 hours of the damage or discovery of damage.

In the event of Contractor liability for damages, the State will repair, replace or cleanup the damage.  The State will provide the Contractor with documentary evidence (i.e. invoices, etc.) of the costs associated with the repair, replacement or cleanup.  The Contractor will reimburse the State for the full amount of the repair, replacement or cleanup either by forwarding payment in full within 45 days of receipt of documentary evidence, or by agreeing, in writing, to allow the State to hold back contractual payments until the cost for the repair, replacement or cleanup has been fully reimbursed to the State.

  - Reporting

The Contractor must submit a monthly GPS Drainage System Cleaning Report.  The report must be submitted with the applicable monthly invoice.

  - Meetings

The Contractor must attend the following meetings:

- Kick Off Meeting with MDOT program staff prior to commencement of work.

- Training for ARCGIS for in-person training for ARCGIS/map users.

- Service Review/Progress Meetings with the MDOT Program Manager and other department project-leads for the purpose of reviewing progress and providing necessary guidance to the Contractor in solving problems that arise, and to continuously communicate with the agency/departmental project-lead.

- Audit Meeting if requested. The MDOT Program Manager may request an audit of the Contract Activities provided each year under the specifications, terms, and conditions of the Contract.  The audit will consist of an evaluation of the total service quality, including responsiveness, timeliness of required reporting, and any other specifics as required under the terms of the Contract.

An unsatisfactory audit may result in cancellation of the Contract as provided in the Standard Contract Terms, Section 24. Further, should the Contract be cancelled for cause, the Contractor so cancelled will not be allowed to participate in request(s) for continuation of this service.

Should the Contractor desire, a meeting will be arranged between all concerned parties within 10 (ten) calendar days of the date the Contractor received, or could have reasonably been expected to receive, a of the audit. This meeting will provide an opportunity for the Contractor to present their reactions to audit recommendations.

- Other Meetings as requested and deemed appropriate by the State.

Bidder response:

| ☐ | I have reviewed all Section 4. requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed all Section 4. requirements and have noted all exception(s) below. |
| List all exception(s): |  |

- ACCEPTANCE

  - Acceptance and Inspection

The Contractor will adhere to the approved progress schedule.  The Contractor will consult the MDOT Program Manager for inspection and tentative approval, so that in the event of unsatisfactory work, sufficient time will be available to the Contractor to make corrections within the time specified in the progress schedule.

Following inspection, the MDOT Program Manager will inform the Contractor of any deficiencies and allowed time to correct the deficiencies.  Failure to correct deficiencies within the allowed time shall result in assessment of liquidated damages (see Section 11 Liquidated Damages) and MDOT may meet with the Contractor to insure corrective action.

  - Final Acceptance

The MDOT Program Manager or designee will determine final acceptance of Contract Activities by visual inspections, review of ArcGIS information, and ensure conformance to the Contract.

Bidder response:

| ☐ | I have reviewed all Section 5. requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed all Section 5. requirements and have noted all exception(s) below. |
| List all exception(s): |  |

- STAFFING

  - Contractor Program Manager

The Contractor must specify an individual who will be the State’s primary contact, will be specifically assigned to the Contract, and will respond to State inquiries regarding the Contract Activities (the “Contractor Program Manager”).

The Contractor Program Manager must be available for calls during the hours of 8:00 a.m. to 5:00 p.m. Eastern Time Monday through Friday.

The Contractor must notify the State’s Contract Administrator at least 14 calendar days before removing or assigning a new Contractor Program Manager.

Contractor Program Manager Contact Information:

| Name |  |
| --- | --- |
| Title |  |
| Office Phone |  |
| Mobile Phone |  |
| Email Address |  |

  - Emergency Contact and 24/7 Telephone Number

The Contractor must specify an Emergency Contact who will be the secondary contact if the Project Manager cannot be reached.  Emergency contacts must be available 24 hours a day, 7 days a week.

Emergency Contact Information

| Name |  |
| --- | --- |
| Title |  |
| 24/7 Phone Number |  |

  - Disclosure of Subcontractors

Use of Subcontractor(s) is limited to the traffic control function only.  If the Contractor intends to utilize subcontractors, the Contractor must disclose the following:

| The legal business name, address, telephone number of the subcontractor(s): |  |
| --- | --- |
| A description of subcontractor’s organization and the services it will provide and information concerning subcontractor’s ability to provide the Contract Activities: |  |
| The relationship of the subcontractor to the Bidder: |  |
| Whether the Bidder has a previous working experience with the subcontractor. If yes, provide the details of that previous relationship: |  |
| A complete description of the Contract Activities that will be performed or provided by the subcontractor: |  |
| Of the total bid, the price of the subcontractor’s work: |  |

| Bidder must provide information based on the work performed by all subcontractors |  |
| --- | --- |
| Total percentage of work that will be performed by subcontractors: |  |

- PROJECT MANAGEMENT

  - The Contractor will carry out this project under the direction and control of the MDOT Program Manager. Any questions regarding Contract Activities are to be addressed to the MDOT Program Manager. The MDOT Program Manager for this project is:

William Bair

MDOT – Oakland Transportation Service Center

800 Vanguard Dr.

Pontiac, MI 48341

BairW@michigan.gov

248-431-2887

  - Project Plan

- Within 30 days of Contract execution, the Contractor must submit a Project Plan to the MDOT Program Manager for final approval.  The plan must include a project breakdown showing sub-projects, tasks, timelines, and resources required.  The Project Plan must also identify methods, tools, and processes to oversee the project; address issues and changes as may arise; and keep the appropriate parties apprised of progress.

- The Project Plan must include, but is not limited to, the following:

- Schedule of Operations indicating personnel and hours expected to complete work.

- Name(s) of supervisors with 24-hour contact telephone numbers and best contact times.

- Progress Schedule listing locations where cleaning will occur.

- Safety Program including traffic control plan(s).

- Name/Location of Class II disposal site or transfer station for waste material.

- Copy of liquid waste hauler license.

- Documentation of personnel training for confined space entry and hazardous material handling.

  - . Progress Schedule

- The Contractor’s project plan must include a progress schedule that will exhibit the continuous progress toward completion of Contract Activities.

- The Contractor's approved Progress Schedule governs the work to be performed by the Contractor, but it is not binding on MDOT. The Contractor's Progress Schedule does not alter or increase the obligations of MDOT as they exist under the other provisions of the Contract.

- Adjustments to approved Progress Schedule, including any weather-related deviations, must be approved by the MDOT Program Manager.

Bidder response:

| ☐ | I have reviewed all Section 7. requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed all Section 7. requirements and have noted all exception(s) below. |
| List all exception(s): |  |

- PRICING

  - Price Term

Pricing is firm for a 365-day period (“Pricing Period”). The first pricing period begins on the Effective Date. Adjustments may be requested in writing by either party and will take effect no earlier than the next Pricing Period.

  - Fuel Surcharge

The State recognizes that fuel prices can be volatile and uncertain.  Therefore, if fuel prices rise more than 25% above the current US Department of Energy’s average diesel price of $5.105 as of March 30, 2026, the State may allow a variable fuel surcharge fee to be assessed. The surcharge will be based on the US Department of Energy’s average diesel price from the previous month for Midwest (PADD2) area (see Midwest (PADD 2) Gasoline and Diesel Retail Prices). A request for a fuel surcharge must be approved by the State prior to implementation. No fuel surcharge will be allowed when fuel prices are within 25% of the current US Department of Energy’s as of March 30, 2026.

To facilitate fuel surcharge or price adjustments requests, Bidder must indicate what percentage of the bid price for each pay item represents fuel cost

| Pay Item | What % of Unit Price is Fuel Cost? |
| --- | --- |
| Drainage Structure Observation |  |
| Routine Drainage Structure Cleaning |  |
| Routine Drainage Structure Cleaning, Nighttime |  |
| Non-Routine Drainage Structure Cleaning, Half Day |  |
| Non-Routine Drainage Structure Cleaning, Full Day |  |
| TV Truck and Operator |  |
| Emergency Cleaning Request |  |

  - Price Changes

Price adjustments will be based on changes in actual Contractor costs. Any request must be supported by written evidence documenting the change in costs. The State may consider sources, such as the Consumer Price Index; Producer Price Index; other pricing indices as needed; economic and industry data; manufacturer or supplier letters noting the increase in pricing; and any other data the State deems relevant.

Following the presentation of supporting documentation, both parties will have 30 days to review the information and prepare a written response. If the review reveals no need for modifications, pricing will remain unchanged unless mutually agreed to by the parties. If the review reveals that changes are needed, both parties will negotiate such changes, for no longer than 30 days, unless extended by mutual agreement.

The Contractor remains responsible for Contract Activities at the current price for all orders received before the mutual execution of a Change Notice indicating the start date of the new Pricing Period.

Bidder response:

| ☐ | I have reviewed all Section 8. requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed all Section 8. requirements and have noted all exception(s) below. |
| List all exception(s): |  |

- ORDER AUTHORIZING DOCUMENT

The appropriate authorizing document for the Contract will be a written Delivery Order.

- INVOICE AND PAYMENT

  - Invoice Requirements

Invoices must be submitted on a monthly basis and must reflect actual Contract Activities completed during the invoice period.  The monthly GPS Drainage System Cleaning Report and all supporting documentation for material testing, quantity of material disposed, and copy of waste manifest must be submitted with the invoice.

All invoices submitted to the State must indicate: (a) invoice date; (b) vendor-generated invoice number; (c) delivery order number; (d) description of the Contract Activities (pay item) and work limits; (e) date of service; (f) quantity; (g) unit price; and (h) total price.

  - Payment Terms

The Contractor is encouraged to offer quick payment terms. The number of days must not include processing time for payment to be received by the Contractor's financial institution.

Bidder response:

| ☐ | No quick payment terms are offered; payment terms are Net 45 Days. |
| --- | --- |
| ☐ | Quick payment terms of % discount off invoice if paid within days after receipt of invoice are offered. |

  - Payment Method

As required by MCL 18.1283, the State will only disburse payments under this Contract through Electronic Funds Transfer (EFT).

The Contractor is responsible for ensuring current banking information is entered in the State vendor website: www.michigan.gov/SIGMAVSS.

  - Procedure

All invoices must be submitted via e-mail to the MDOT Program Manager, William Bair, at BairW@michigan.gov and to the MDOT Oakland Transportation Service Center at MDOT-Metro-OakTSC-Invoices@michigan.gov.

Payments for Contract Activities will be based on reports verified by the ArcGIS database.

- LIQUIDATED DAMAGES

Late or improper completion of the Contract Activities will cause loss and damage to the State and it would be impracticable and extremely difficult to fix the actual damage sustained by the State.  Therefore, if there is late or improper completion of the Contract Activities the State is entitled to collect liquidated damages in the amount of $1,000 and an additional $500 per day for each day Contractor fails to remedy the late or improper completion of the Work.

Bidder response:

| ☐ | I have reviewed all Section 11. requirements and agree with no exception. |
| --- | --- |
| ☐ | I have reviewed all Section 11. requirements and have noted all exception(s) below. |
| List all exception(s): |  |

Enter company name here

Schedule B - Pricing

Request for Proposal (RFP) No. 260000001188

Catch Basin/Drainage System Cleaning – Oakland County

- The Contractor must provide pricing for the proposed Contract Activities using the below Price Schedule. The Price Schedule should be submitted in a modifiable format (e.g. Microsoft Word or Excel); however, you may also submit an additional pricing schedule in a non-modifiable format (e.g., PDF). Failure to complete the pricing schedule as requested may result in disqualification of your proposal.

- Price proposals must include all costs, including but not limited to, any one-time or set-up charges, fees, and potential costs that Contractor may charge the State (e.g., shipping and handling, per piece pricing, and palletizing).

- By submitting its proposal, the Contractor certifies that the prices were arrived at independently, and without consultation, communication, or agreement with any other Contractor.

PRICE SCHEDULE

Yearly quantities are based on past usage and are estimates only.  Exact quantities to purchase are unknown.  The State is not obliged to purchase in these or any other quantities.

Bidder must complete Unit Price column and Extended Price column.

| No | Service Item Description | Unit of Measure | Estimated Yearly Quantity | Unit Price | Extended Price |
| --- | --- | --- | --- | --- | --- |
| 1 | Drainage Structure Observation | Each | 470 |  |  |
| 2 | Routine Drainage Structure Cleaning | Each | 1,780 |  |  |
| 3 | Routine Drainage Structure Cleaning, Nighttime | Each | 590 |  |  |
| 4 | Non-Routine Drainage Structure Cleaning, Half Day | Each | 10 |  |  |
| 5 | Non-Routine Drainage Structure Cleaning, Full Day | Each | 1 |  |  |
| 6 | TV Truck and Operator | Hour | 1 |  |  |
| 7 | Emergency Cleaning Request | Hour | 4 |  |  |
| Total Estimated Price for 1 Year |  |  |  |  |  |
| Number of years in Contract Term |  |  |  |  | 3 |
| Grand Total Estimated Price for 3-Year Contract |  |  |  |  |  |

Schedule C – Estimated Drainage Structure Inventory

Request for Proposal (RFP) No. 260000001188

Catch Basin/Drainage System Cleaning – Oakland County

| Route Description | Type of Road | Limits | Catch Basins | Catch Basin (Double Entry) | Manholes | Beehives | Totals |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cass Ave (US-24BR) | Non-Freeway | Caesar Chavez to The Loop | 45 | 0 | 6 | 1 | 52 |
| Caesar Chavez (US-24BR) | Non-Freeway | Telegraph to The Loop | 156 | 0 | 25 | 14 | 195 |
| Dixie Hwy (US-24BR) | Non-Freeway | Telegraph to Main St (M-15) | 327 | 0 | 200 | 27 | 554 |
| M-5 | Freeway | Purdue to 12 Mile Rd | 25 | 0 | 17 | 21 | 63 |
| M-59 | Non-Freeway | Williams Lk Rd to Paddock | 396 | 0 | 257 | 95 | 748 |
| M-59 | Freeway | Paddock to Dequindre Rd | 107 | 115 | 12 | 2 | 236 |
| I-275 | Freeway | M-5/I-696 to 8 Mile Rd | 4 | 0 | 0 | 1 | 5 |
| I-96 | Freeway | I-696/I-275 to Kent Lake Rd | 541 | 3 | 30 | 21 | 595 |
| I-696 | Freeway | I-96 to Dequindre Rd | 682 | 619 | 187 | 7 | 1,495 |
| I-75 | Freeway | 13.5 Mile to North County Line | 1,425 | 0 | 61 | 43 | 1,529 |
| M-10 | Freeway | Beck Rd to 8 Mile Rd | 586 | 0 | 143 | 18 | 747 |
| Northland Service Dr | Non-Freeway | M-10 to Winora Ave | 2 | 0 | 2 | 0 | 4 |
| M-39 (Southfield Fwy) | Freeway | Northwestern Hwy to 8 Mile Rd | 157 | 0 | 19 | 1 | 177 |
| Perry St | Non-Freeway | The Loop to Walton | 149 | 0 | 152 | 16 | 317 |
| Square Lake Rd | Non-Freeway | Telegraph to I-75 | 46 | 0 | 8 | 0 | 54 |

SCHEDULE D – EQUIPMENT LIST

Request for Proposal (RFP) No. 260000001188

Catch Basin/Drainage System Cleaning – Oakland County

List all equipment to be utilized in the performance of catch basin/drainage system cleaning services.  Equipment must be owned and available for use at start of contract.  Do not include information on anticipated purchases or rentals.  Add rows as necessary.

| Equipment | Use | Make/Model | Serial Number | Year of Mfr |
| --- | --- | --- | --- | --- |