Request for Proposal

Comstock Public Schools (“District”) will accept sealed bids for:

HAMET AHTLETIC COMPLEX SHED

soliciting equipment as described in the attached specifications.  Sealed bids are due no later than 12:00  P.M. local time on Friday, March 13, 2026.

Sealed bids should be submitted to Sean Gillette, Facilities Director, Comstock Public Schools, 6138 King Highway, Kalamazoo, MI  49048.  Bids are to be submitted no later than 12:00 P.M. Friday, March 13, 2026.  Late bids will not be accepted or considered.  Bids will be publicly opened shortly following the close of receiving bids.  No oral, email, telephonic, or telegraphic proposals shall be considered.

The Board of Education reserves the right to accept or reject any or all bids in whole or in part, to waive any informality or irregularity in the bid or in the bid process, or, for reasons of establishing uniformity, delivery time or preference, to award the contract to other than the low bidder.

All prices quoted are to be F.O.B., Kalamazoo, Michigan. All purchases and sales to the school district are exempt from all taxes, including state and federal taxes. Exemption certificates for the school district will be furnished upon request.

The bid shall be accompanied by a sworn and notarized statement disclosing any familial relationship that exists between the owner or any employee of the bidder and any member of the board, or the superintendent of the school district.

The bid shall also be accompanied by a sworn and notarized statement disclosing whether the bidder is an Iran Linked Business in compliance with PA 517 of 2012.  The Board shall not accept a bid that does not include these sworn and notarized disclosure statements.

Bids are to be submitted on the Bid Proposal Forms included in this invitation to bid, signed by the bidder, in a sealed envelope clearly marked.  Two (2) copies of the Bid Proposal Form should be addressed to the attention of:

Sean Gillette, Facilities Director

Comstock Public Schools

6138 King Highway

Kalamazoo, MI  49048

SITE INSPECTION

A construction pre-bid meeting will be held at Comstock Public High School, on February 26th, 2026, at 12:00 pm local time.  All bidders are encouraged to attend.

Comstock Public High School

2107 N 26th Street

Kalamazoo, MI  49048

HAMET ATHLETIC COMPLEX SHED

One (1) copy of the bid form should be retained for your files. Any questions should be directed to Sean Gillette, Facilities Director, in writing via email at sean.gillette@comstockps.org.

CONDITIONS:

- Bids are being solicited for the Hamet Athletic Complex Shed outlined below.

- Proposals must be made in full conformity with all conditions set forth in the specifications.

- The Board of Education reserves the right to accept or reject any or all bids in whole or in part, to waive any informality or irregularity in the bid or in the bid process, or, for reasons of establishing uniformity, delivery time or preference, to award the contract to other than the low bidder.

- Bidders must respond to all sections in this bid to be considered.

- Any bidder may withdraw its bid at any time prior to the scheduled time for opening of bids.  All proposals submitted shall remain firm for a period of sixty (60) days.

- Bid opening will be held in person immediately following the bid deadline.  Results will be sent electronically to all parties who submit a bid.

SELECTION OF BIDDER:

- The School District will inform all bidders in writing if they were successful or not in obtaining the equipment purchase with Comstock Public Schools.

- Upon completing the bid process the school district will adhere to board policy 6460 “Vendor Relations;” which states “All salespersons, regardless of product, shall clear with the Superintendent's Office before contacting any teachers, students, or other personnel of the School District.”

PAYMENTS:

A purchase order will be issued by the District to the successful bidder. The successful bidder will invoice the District for amounts due as agreed.

The Board of Education reserves the right to accept or reject any or all bids in whole or in part, to waive any informality or irregularity in the bid or in the bid process, or, for reasons of establishing uniformity, delivery time or preference, to award the contract to other than the low bidder.

SPECIFICATIONS AND BID PROPOSAL FORM

BID CATEGORY NO. 01 – General Trades

Include:

- Complete all work needed for the 24’x36’ Storage Building in its entirety.  Including but not limited to earthwork, concrete, metal siding and trims, shingled roof, doors/hardware/frames, overhead doors, electrical work, etc.

- Engineered/Stamped drawings of building and foundations are by this bid category. Awarded Company will use these drawings for State permitting review/approval.

- Construction will start onsite after State of Michigan reviews the drawings generated by this bid package. Typical process takes approximately 3 months after submitting to the State of Michigan for review. Awarded Company to handle application process.

- Construct to following specifications:

  - 24’ x 36’ delegated design post and frame structure for cold storage

  - 10’ side walls

  - Roof pitch – 5/12

  - Metal Siding – color to be from standard color options.

  - Trim color – TBD

  - No interior finishes or insulation required. (cold storage)

  - (1) – 7’x14’ manually operated overhead door – (non-insulated)

    - Provide any and all hardware. Coordinate with Owner for keying.

  - (1) – 36” hollow metal man door

    - Provide any and all hardware. Coordinate with Owner for keying.

  - Asphalt Shingled roof with 25-to-30-year warranty included.

  - Roof vents as required.

  - Miscellaneous sheet metal flashing and trim, gutters, downspouts, and caulking with splash pads.

  - Provide unit prices for double pane insulated windows with double locks and screen.

  - Provide a poured concrete ramp.

Electrical

  - LED, 5000 Kelvin lights, brand and style TBD.

  - LED interior lighting as required per code.

  - Electrical outlets as required per code.

Note:

Power to be pulled from existing electrical panel located TBD.  Electrician to pull power out of this existing panel, adding a new subpanel in the new storage barn. Will have to run in conduit out and over to the new building.

Concrete

  - No floor drains required.

  - 10 mil vapor barrier over minimum 8” compacted clean sand fill meeting MDOT class II standards placed on compacted suitable subgrade.

  - Provide reinforced concrete slab on grade floor with an elevation of 4” above existing surrounding grade.

  - Typical construction and/or control joints for concrete slabs.

- Applicable fees, permits, inspections, etc. as required for the completion of the work in this bid category.

- All necessary surveying and staking.

- Locate any existing underground utilities. Call Miss Dig as necessary.

- Responsible for keeping public roads clean of construction traffic dirt and debris.

- Site related demolition, including but not limited to, pavements, site walls, utility structures, saw cutting, tree removal, etc.

- Soil erosion permit and erosion control. If required.

- Earthwork as required.

- Maintain and control grades to facilitate the run-off of site surface water.

- Supply and maintain barricading as required for the work of this contractor.

- Excavation, over excavation and controlled fill for building foundations install by this contractor including proper disposal, at an off-site location, of unsuitable soils.

- Reestablish turf in disturbed areas.

- Provide and maintain access ramps as required to complete your work.

- Reinforcing steel as required.

- Necessary heat and weather protection for the completion of this contractor’s work.

- Furnish and install all metal siding, metal trims, etc.

- Furnish/Install all treated and untreated wood & metal supports necessary for framing, trusses, bracing, concrete, doors, overhead doors, etc. not shown but incidental to your scope of work.

- Include all blocking not shown but incidental to your scope of work.

- Furnish and install doors, frames, and hardware.

- Wiring of unit components from the disconnect, or other point of termination of electrical power.

- Complete electrical and related work.

- Metal support framing specifically required for support of electrical systems.

- Include full time supervision.

- Include payment and performance bond cost in base bid and identify bond amount.

GENERAL COMMENTS

None

Consideration of Bids:

The Owner has the right to accept any and all submitted bids.

Total Project Price ________________

SPECIFICATIONS AND BID PROPOSAL FORM continued

The undersigned certifies that the bid contained meets or exceeds the attached specifications.  Failure to comply with all conditions asked for in this bid document may result in rejection of the bid.

Bidder Information:

COMPANY NAME: ____________________________________________________________

ADDRESS: ___________________________________________________________________

AUTHORIZED SIGNATURE: ____________________________________________________

AUTHORIZED NAME (please print): ______________________________________________

TITLE: ________________________________________________ DATE: ________________

PHONE #: ________________________________ FAX #: _____________________________

E-MAIL: ______________________________________________________________________

At least 3 references with contact person:

Company: _____________________ Contact: ____________________ Phone: _____________

Company: _____________________ Contact: ____________________ Phone: _____________

Company: _____________________ Contact: ____________________ Phone: _____________

Do you conduct background checks on your employees? 		 ❒Yes   ❒No

Familial Relationship Affidavit included?  				 ❒Yes   ❒No

Iran Linked Business Affidavit included? 				 ❒Yes   ❒No

Written responses to all requested questions? 				 ❒Yes   ❒No

Are you on the Excluded Parties List 					❒Yes   ❒No    ❒Unknown

(which excludes you from receiving Federal Contracts or certain sub contracts, pursuant to the provisions of 31 U.S.C. 6101, note E.O. 12549, E.O. 12689, 48 C.F.R. 9.404)?

Provide your DUNS number, if you have one: ____________________________

Local (District) Vendor or Taxpayer?     				❒Yes   ❒No    ❒Unknown

(Documentation, if necessary, will be obtained after the bid opening.)

Do you have employees that live within the District?   		❒Yes   ❒No    ❒Unknown

Payment and Performance Bond Amount: 				$______________________

BID DISCLOSURE STATEMENT – FAMILIAL RELATIONSHIP

Bidders must submit a sworn and notarized statement disclosing any familial relationship that exists between the owner or any employee of the bidder and any member of the Comstock District School Board or the Comstock District Superintendent must be accompanied with the bid.  Bids without this disclosure statement will not be accepted.

The members of the Comstock School Board are: Pamela Dickinson, Matthew Schreiner, Paul Lamphear, Saralyn Brown, Hillary Cook, Dr. Richard Hathaway, Krisie Poulson, Megan Amsbury

The Comstock Public Schools Superintendent is: Dr. Jeffrey Thoenes

The Following are the familial relationships:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

There are none.

STATE OF MICHIGAN          )

) ss

COUNTY OF_____________)

The undersigned, authorized representative of bidder (insert name) __________________

does hereby acknowledge that bidder has read the foregoing disclosure statement and the

statements herein contained are true.

______________________________

Signature of Bidder Representative

______________________________

Print Name

______________________________

Title

Subscribed and sworn to before me this _____day of ___________________, 2021.

____________________________________

Notary Public, ______________County, Michigan

My commission expires: ____/____/________

AFFIDAVIT OF COMPLIANCE – IRAN ECONOMIC SANCTIONS ACT

##### Michigan Public Act No. 517 of 2012

The undersigned, the owner or authorized officer of the below named vendor (the “Vendor”), pursuant to the compliance certification requirement provided in the “Comstock Public Schools” (the “District”) Request For Proposals For Comstock Hamet Athletic Complex Shed (the “RFP”), hereby certifies, represents and warrants that the Vendor (including its officers, directors and employees) is not an “Iran linked business” within the meaning of the Iran Economic Sanctions Act, Michigan Public Act No. 517 of 2012 (the “Act”), and that in the event Vendor is awarded a contract as a result of the aforementioned RFP, the Vendor will not become an “Iran linked business” at any time during the course of providing any services or selling any items under the contract.

The Vendor further acknowledges that any person who is found to have submitted a false certification is responsible for a civil penalty of not more than $250,000.00 or 2 times the amount of the contract or proposed contract for which the false certification was made, whichever is greater, the cost of the District’s investigation, and reasonable attorney fees, in addition to the fine.  Moreover, any person who submitted a false certification shall be ineligible to bid on a request for proposal for three (3) years from the date the it is determined that the person has submitted the false certification.

CONTRACTOR:

Name of Contractor

By:

Its:

Date:

STATE OF 			)

)ss.

COUNTY OF ____________	)

This instrument was acknowledged before me on the _____ day of ____________, 2026, by __________________________.

____________________________________

, Notary Public

______________ County, __________

My Commission Expires:___________

Acting in the County of :___________

INSTRUCTIONS TO BIDDERS

Unless otherwise modified by the request for proposals for a specific project, these instructions shall form a part of all bid specifications:

A.    The naming of a given manufacturer and model number is not intended to limit bidding but to establish the level of quality desired for the various items required. Bidders should exercise care in bidding equivalent items. Complete descriptive literature must accompany proposed equivalent bids. Samples will be requested if deemed necessary by the district or its architect, construction manager or other designee (collectively, "school officials").

B.     Bid price shall include delivery to the point of use. Where it shall be deemed necessary by school officials, the successful bidder shall be prepared at no additional cost to provide instruction in use and care of equipment delivered in both written form and on a demonstration basis.

C.     Optional accessories necessary for the basic use of equipment shall be included in the base bid. Such accessories not necessary for the basic use but deemed desirable shall be included as an alternative bid with a complete description.

D.    Each group of items or individual item, if classified in this way, shall constitute a separate bid. The Board of Education, however, may in its sole discretion accept a combined bid for all items bid by one bidder.

E.     Delivery date is a part of the bid and shall be submitted on the bid form at the time of bidding.

F.      Bidders are required to use the bid form attached for base bids. Alternate bids may be attached to the bid form. If there is no bid form for an RFP please provide your own.

G.    All bids shall be exclusive of applicable excise taxes. Exemption forms will be executed when necessary.

H.    All bids shall be submitted in sealed envelopes clearly marked with the words "Bid Opening", including specifically the date and time of bid opening, the bid, and the name of the bidder.

I.       In the event of discrepancies between the unit price and extension, the unit price shall prevail.

J.       Manufacturer's written guarantees shall accompany each bid. Bidders may state in writing additional guarantees which will become a part of the bid and considered in making awards.

K.    Where applicable, service facilities and convenience of service may at the sole discretion of the district be considered as part of the bid. When necessary in the sole discretion of the district, bidders shall submit evidence of ability to install adequately, service or supply the required items, and that the sale or provision of such items or services is a substantial, regular and continuous part of the bidder's business.

L.     Where applicable, bidders shall certify in writing that all relevant Federal, State, and local laws have been complied with.

M.   Each bid when specified shall be accompanied by either a bond for the full amount of the bid or a cashier's check or letter of credit equal to ten percent (10%) or the percentage of the total bid contained in the bid solicitation, whichever is greater, and a statement indicating no outstanding personal property tax obligations.

N.    All necessary insurance certificates shall be supplied only when specifically requested.

O.    No order awarded under these specifications, or any part thereof, shall be sublet or assigned without the written approval of the Superintendent.

P.      The bidder acknowledges that by submitting a bid, the specifications and other instructions are in the bidder's opinion, appropriate and adequate for the intended purpose.

Subject to applicable law, the Board of Education reserves the right to:

A.    reject any or all bids without assigning any reason therefore;

B.     be the sole judge of equivalency;

C.     waive any bid requirement in accepting or rejecting bids.

D.    accept the bid that the Board of Education, in its sole discretion, best serves the interests of the district.