HARPER CREEK COMMUNITY SCHOOLS

Facilities Department

7454 B Dr. North

Battle Creek, MI 49014

(269) 441-6550

Fax (269) 962-6034

High School Trash Compactor Bid Information

- Site Address: 12677 Beadle Lake Rd. Battle Creek, MI 49014

- Contact Information: Jim Robinson, Director of Facilities Harper Creek Community Schools.

Phone: (269) 441-6575, Email: robinsonj@harpercreek.net

- Bid Document Due Date: May 7, 2026 @ 10:00 AM. Bids can be answered by the following:

- Hand Delivery to Harper Creek Administration Building, Atten: Jim Robinson

7454 B Dr. North Battle Creek, MI 49014

- Postal Service: Harper Creek Community Schools. Atten: Jim Robinson,

7454 B Dr. North Battle Creek, MI 49014.

- Email: robinsonj@harpercreek.net

- Any bids received after the due date will not be accepted. It is not the responsibility of Harper Creek Community Schools for late or incomplete bids.

- On Site Visit: The visit is not mandatory but recommended. Site visit will take place at 12677 Beadle Lake Rd. Battle Creek, MI 49014 “Behind the Building”, April 28, 2026 @ 10:00 AM.

- Questions must be received by the district by 3:00 PM on May 4, 2026. All Questions can be emailed to Jim Robinson @ robinsonj@harpercreek.net

- Installer must provide proof of insurance prior to commencement of work. This must also be included in the bid document.

- There is no bond required for this project.

- The bid is to include removal of existing compacting unit and replacement of new compactor. Training and Warranty information will also be required in the bidding document. This will be a turnkey operation when the project is completed. The district will provide electrical connection and disconnection as required.

- Bids are to include the compactor and the attached decking from the loading dock to the compactor.

- The bids are to match or be equal to the following recommended unit. Sebright model 4860 Rear Fead Compactor. The container will be provided by the district’s waste disposal provider.

- Compactor Specifications are as follows:

- Sebright model 4860 Rear Feed Compactor “or equivalent”.

- ¾ full and full light packages with full shut off.

- Multi-cycle timer

- 10 HP motor with 10 GPM pump with 6” cylinder

- Breaker bar teeth to hold the load in.

- Container centering guide rails.

- Power unit cover and all temp oil.

- Rear feed with safety interlocked gate

- 2yd charge chamber.

- Oil sight gauge with thermometer.

- Pressure gauge.

- Driver controls with boost.

- 10’ of hydraulic hosses for 44-gallon reservoir.

- Adjustable replaceable wear guides.

- Asphalt mounting plate.

- 1-year parts and labor warranty. “Minimum”

- Model Specifications from Sebright:

- Model Number 4860

- Cu. Yd 2.0

- Motor HP 10

- Pump GPM 12

- No. of cylinders 1.

- Cylinder bore, 6.

- Cylinder Stroke, 58

- Max PSI, 2000

- Ram Face Sq. in., 1,590

- Ram Face PSI, 35.6

- Cylinder Force, 56,540

- Cycle Time, 51

- Cubic Yard per Hour, 101

- Ind. Criteria Rating, 1.43

- Base Unit Weight, 4,500

- Attached decking.

- The attached deck from the loading dock to the compactor is approximately 9’x11’.

- Decking is to be 3/8” steel.

- All rails along dock are to be included in installation and bid package.